## Cover Note
Cover Note
Comments: This spreadsheet provides a range of estimates based on the assumptions entered. The values show the sensitivies across the range of 0728/A/B/C/D proposals. This allows Users to test sentivities of various combinations of potential changes to the Transportation charges only and should not be used as any indication of actual charges. This calculator is only for demonstrating the impacts of 0728/A/B/C/D and requires the data on the Route Info tab to be fully populated in order to calculate values properly for the 0728/A/B/C/D values in the Data tab
Disclaimer: This spreadsheet is provided to you by National Grid Gas plc (“NGG”) solely for the purposes of study in connection with the development of the GB Gas Charging Review and UNC0728/A/B/C/D. The information that it contains is for guidance purposes only and is given in good faith. However, no warranty or representation or other obligation or commitment of any kind is given by NGG, its employees or advisors as to the accuracy or completeness of any such information. Neither NGG nor its employees or advisors shall be under any liability for any error or misstatement in the information provided. While certain precautions have been taken to detect computer viruses, we cannot guarantee that the Tariff Model is virus-free and NGG shall not be liable for any loss or damage which occurs as a result of any virus. Your use of this spreadsheet shall constitute your acceptance of the above.
Version History: V1.0 Initial Model V1.1 Updated to show that if route info not fully populated will not get values in data tables V1.2 Updated for 0728/A/B/C/D and Oct-20 Published Rates V1.3 Corrections to 0728D & GNTS rate

## Route Info
Route Details |  |  | Based on grid references for the nearest terminal and the offtake, this is the calculated a straight-line distance from Entry Point to Exit Point. This distance provides the % discount to be applied for Transmission Services Reserve prices. A table of distances for routes within the limitation of each of the 0728 proposals can be found in the appendices of the 0728 Modifications, available from the Joint Office website: https://www.gasgovernance.co.uk/index.php/0728/
Entry Point
Exit Point
Route Distance |  | km
Exit FCC Data |  |  | The FCC is a Forecast of Exit Capacity bookings for future years based on historical flows and capacity bookings. The assumption here is that the Entry Capacity is at this level. It could be above, however for this purpose it assumes Exit Capacity is matched at Entry. This data can be taken from the FCC Model, produced to support Modification 0678. This is available from the Joint Office website: https://www.gasgovernance.co.uk/index.php/0678/Models Alternatively, this value can be populated in line with your booking expectations for future years and will update the calculations in the Data tab.
Forecasted Contracted Capacity (FCC) - 2020/21 |  | kWh/day
| 0 | GWh/year
NTS OCC Flows |  |  | The Annual Exit Flow should be the Annual Throughput figure i.e. the aggregate of all flows recorded at this Exit Point for the year. The Eligible Quantity would be calcualted in line with the method set out in Proposals raised as part of Modification 0728. Entering the minimum of the selected Entry and Exit Points FCC values and the Annual Exit Flow will work as a proxy for this estimate. These figures can be adjusted in line with any flow expectations for future years to amend the figures calculated in the Data tab.
Annual Exit Flow |  | GWh/year
Eligible Quantity |  | GWh/year
In-eligible Quantity | 0 | GWh/year
Factors effecting costs |  |  | Based on the data entered above, these figures demonstrate how much of booked Capacity (at Exit) is utilised and how much of the flow was eligible for discount under the current NTS OCC product. These values can be amended in line with any sensitivies to amend calculated figures. We have provided details of three scenarios on the following tab showing how adjusting each would potentially impact transmission charges.
% of FCC Utilised | 0%
% of Flow Eligible | 0%

## Data
Reference Table | Capacity rates are based on published rates for the period 20/21. Distance limitation is as per each modification proposal. Distance is the straight line (as crow flies) between the nominated NTS Entry and NTS Exit point. Discounts are from each proposal.
|  | Capacity |  | Commodity |  | Distance Limitation (km) | Route Straightline Distance (km) | Calculated TS Discount | Gen Non-TS Discount | Capacity |  | Commodity
|  | Standard Entry Reserve Price | Standard Exit Reserve Price | TO and SO Commodity Rate | Gen Non-TS Rate |  |  |  |  | Eligible Entry Rate | Eligible Exit Rate | Shorthaul Rate | Eligible Gen Non-TS Rate
| Current* | 0 | 0 | 0.0955 | N/A | N/A |  | N/A | N/A | 0 | 0 | 0.0119 | N/A
| 0678A | 0.0717 | 0.0198 | N/A | 0.0134 | N/A |  | N/A | N/A | 0 | 0 | N/A | 0.0134
| 0728 | 0.0717 | 0.0198 | N/A | 0.0134 | 18 |  | 0% | 0% | 0.0717 | 0.0198 | N/A | 0.0134
| 0728A | 0.0717 | 0.0198 | N/A | 0.0134 | 18 |  | 0% | 0% | 0.0717 | 0.0198 | N/A | 0.0134
| 0728B | 0.0717 | 0.0198 | N/A | 0.0134 | 28 |  | 0% | 0% | 0.0717 | 0.0198 | N/A | 0.0134
| 0728C | 0.0717 | 0.0198 | N/A | 0.0134 | 18 |  | 0% | 0% | 0.0717 | 0.0198 | N/A | 0.0134
| 0728D | 0.0717 | 0.0198 | N/A | 0.0134 | 5 |  | 0% | 0% | 0.0717 | 0.0198 | N/A | 0.0134
Scenario 1 | This table assumes no behavioral changes in relation to current Forecasted Capacity bookings or Flows. Assumes all capacity booked under the current charging regime is booked at a zero price. Entering a figure in cells C5 & D5 will adjust the charges accordingly.
|  | Standard Reserve Price Entry Capacity Charge | Standard Reserve Price Exit Capacity Charge | Standard Price Gen Non-TS / SO Commodity Charge | Discounted Price Entry Capacity Charge | Discounted Price Exit Capacity Charge | Discounted Price Gen Non-TS / Shorthaul Charge | Total
| Current* | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0678A | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728A | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728B | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728C | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728D | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scenario 2 | This table assumes Capacity bookings are reduced from the current Forecasted level to be in line with total Exit Flow, i.e. Capacity is matched to Exit Flow exactly and there is 100% utilisation of the Capacity booked but the Eligible % remains as current (ie less than 100%).
|  | Standard Reserve Price Entry Capacity Charge | Standard Reserve Price Exit Capacity Charge | Standard Price Gen Non-TS / SO Commodity Charge | Discounted Price Entry Capacity Charge | Discounted Price Exit Capacity Charge | Discounted Price Gen Non-TS / Shorthaul Charge | Total
| Current* | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0678A | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728A | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728B | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728C | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728D | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scenario 3 | This table assumes Capacity bookings are reduced from the current Forecast level to be in line with total Exit Flow, i.e. Capacity is matched to Exit Flow exactly and there is 100% utilisation of the Exit Capacity booked, and the flows are managed such that 100% of Entry & Exit Flow is eligible for discount.
|  | Standard Reserve Price Entry Capacity Charge | Standard Reserve Price Exit Capacity Charge | Standard Price Gen Non-TS / SO Commodity Charge | Discounted Price Entry Capacity Charge | Discounted Price Exit Capacity Charge | Discounted Price Gen Non-TS / Shorthaul Charge | Total
| Current* | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0678A | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728A | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728B | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728C | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0728D | 0 | 0 | 0 | 0 | 0 | 0 | 0