| GT / UIP Completion File Checklist |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| National Grid Ref No: |  |  |  | Customer Ref No: |  |  |  |  |  |
| Part Completion file: |  | Yes | No | If Yes, which plots are covered? |  |  |  |  |  |
| Submitted by: |  |  |  | Contact No. |  |  |  | Tick or mark N/A |  |
|  |  |  |  |  |  |  |  | GT | UIP |
| Address and National Grid reference number match on all documents |  |  |  |  |  |  |  |  |  |
| Date laid matches on all documents |  |  |  |  |  |  |  |  |  |
| Invoice submitted for works carried out on behalf of National Grid |  |  |  |  |  |  |  |  |  |
| Easements/wayleaves/consent to lay details given at certification stage (if not, please include) |  |  |  |  |  |  |  |  |  |
| Completed GL5 included for IP pipework |  |  |  |  |  |  |  |  |  |
| Live MPRN details given as follows or on separate sheet: |  |  |  |  |  |  |  | N/A |  |
| As-Laid Submitted (including existing OS geography) |  |  |  |  |  |  |  |  |  |
| Connection point location clearly marked on pipe, connection type and grid co-ordinates stated |  |  |  |  |  |  |  |  |  |
| CSEP direction indicated |  |  |  |  |  |  |  |  | N/A |
| Route of pipework clearly shown which differentiates between mains and service pipes |  |  |  |  |  |  |  | N/A |  |
| Connection / pipe commission date |  |  |  |  |  |  |  |  |  |
| Material, diameter, SDR , lay method, depth of cover stated for each pipe |  |  |  |  |  |  |  |  |  |
| Two opposing dimensions to connection point / end point / bends |  |  |  |  |  |  |  |  |  |
| Indicates position of plant items (valve, governors, etc) |  |  |  |  |  |  |  | N/A |  |
| Signed and Dated Test Certificate Submitted |  |  |  |  |  |  |  |  |  |
| Tested to correct pressure |  |  |  |  |  |  |  |  |  |
| States correct test method |  |  |  |  |  |  |  |  |  |
| All pipe lengths accounted for |  |  |  |  |  |  |  |  |  |
| Hydrostatic test included if pipe is IP |  |  |  |  |  |  |  |  |  |
| Fully Completed Valve / Governor Record Submitted |  |  |  |  |  |  |  | N/A |  |
| Valve card submitted for all LP services above 32mm, all mains and all pipework MP and above |  |  |  |  |  |  |  | N/A |  |
| Governor record submitted |  |  |  |  |  |  |  | N/A |  |
| Deviation to Authorised Design Submitted |  |  |  |  |  |  |  |  |  |
| Error report (DR8) submitted if National Grid records incorrect |  |  |  |  |  |  |  |  |  |
| Signed variation form included for any minor on-site deviations (as per IGE/TD/101) |  |  |  |  |  |  |  |  |  |
| Minor variations conform to T/SP/NP/14/E |  |  |  |  |  |  |  |  |  |
| Major variation raised with National Grid |  |  |  |  |  |  |  |  |  |
| Comments |  |  |  |  |  |  |  |  |  |