## Introduction
Quarterly Gas System Operator Incentive Report
Q4 2011-2012 (January 2012 to March 2012)
Introduction
1.1 Purpose
The purpose of the Quarterly Gas System Operator Incentive Report is to provide information in respect of the actions / performance measures which National Grid is incentivised against during the relevant quarter in operating the gas transmission system.
1.2 Nature of information provided in this report
This publication contains (amongst other data) volume and cost information associated with balancing actions and shrinkage trading and is based on the latest data and information available at the time of publication. As future quarter summaries are produced, information in the graphs and tables will be updated to reflect the latest information available at that time. Changes to preliminary data that occur after the publication of the relevant quarter's report will thus be visible in the graphs and tables of future reports. Each quarterly report will report volume data on a monthly rolling basis. The cost values contained in this document are predominantly reported to 2 decimal places (£m).
1.3 Structure of Report
This report presents a summary of performance on the first sheet, and then covers each of the incentives in more detail:
Capacity,
Demand Forecasting,
Data Publication,
Shrinkage,
Operating Margins,
Residual Balancing,
Greenhouse Gas Emissions,
Unaccounted for Gas.
1.4 Further Information
Using the above link you can access a document (called "Supporting Information") that contains further information on the existing incentive schemes, the historic levels of performance under these schemes and the impact of incentive payments on charges.
1.5 Consultation Documents
Using the above link you can access an area of the National Grid website that contains any current SO Incentive consultation documents issued by National Grid, along with any responses received from interested parties.
1.6 Other Useful Links
Final Proposal Consultation for Incentives from April 2011 - Ofgem Website
SO Incentive Schemes from 2013 - Ofgem Website
Unaccounted For Gas Industry Update - National Grid Website

## Performance Summary
2011-2012 Q1 Performance Data
Quarterly System Operator Incentive Report |  | 2011-2012 Q4 Performance Data
Capacity |  |  | Demand Forecasting
The chart shows the monthly cumulative buy-back cost performance measure. The annual target cost for this incentive is £16.71m. The scheme has upside and downside sharing factors of 50% with a profit cap of £16.71m and a loss collar of £12.38m.The end of year performance is a cost of £439K. The costs for EnCOBBCt for Q3 and Q4 include the cost of the Force Majeure Options arrangement at Milford Haven. |  |  | The chart compares the monthly cumulative absolute forecast error (the blue line) to the incentive target (the orange line), where the target is a cumulative absolute error of 2.75% for the full year.The Cumulative Absolute Percentage Error for 2011/12 is 3.36%, representing a collared loss of £1.6m to the incentive.
Operating Margins |  |  | Shrinkage
The chart shows the costs of Operating Margins availability and utilisation. The target Incentive Cost for 2011/12 for the Operating Margins incentive is £17.32m, with an Incentive Payment capped at £1m and collared at -£1m. The total end of year cost was £15.52m (Q1 = £3.99m, Q2 = £3.79m, Q3 = £3.91m, Q4 = £3.83m). |  |  | The chart compares cumulative total shrinkage costs (the blue bars) to an indicative cumulative target (the orange line).The end of year Cumulative Incentive Costs (as of March 2012) are £95.67m, which has resulted in a capped incentive profit of £5m.
Data Publication
The chart compares the average number of minutes for which the incentivised web pages were unavailable in the month (the blue columns) to the incentive target (the orange line), where the target represents 99.3% availability. The chart shows that in Q4, the performance for all three months was below target levels, resulting in an end of year loss of £2,197 for the Availability portion of this incentive. |  |  | The chart compares the average timeliness of the incentivised reports for the month (the blue columns) to the incentive target (the orange line), where the target represents 90.5% published within 10 minutes.The chart shows that in Q4, performance for all three months was below target levels, resulting in an end of year loss of £8,153 for the Timeliness portion of this incentive.
Greenhouse Gas Emissions |  |  | Unaccounted for Gas
The chart compares the cumulative mass of natural gas vented (the blue columns) to a cumulative target (the orange band) - note that the incentive target is an annual one and therefore the monthly targets are only indicative. The green band represents venting below the target, with the bottom of the band representing an illustrative payment of £500k - this is not the incentive cap. Conversely the yellow band represents vented gas above the target, with the top of the band representing an illustrative penalty of £500k - again, this is not the incentive collar. The end of year position is a vented mass of 2,982 tonnes, which is within the deadband, representing a profit / loss of £0. |  |  | The chart compares cumulative absolute UAG (the blue columns) to a cumulative target (the orange line). The end of year position is a Cumulative Absolute UAG of 4,925 GWh, representing a zero profit for this scheme.
Residual Balancing
The chart compares the average Price Performance Measure in the month (the blue line) to the incentive target (the orange line), where the target is a PPM of 1.5%. For Q4, in all months the Average PPM were within the target level; (0.94% in January, 1.29% in February and 0.99% in March), resulting in an end of year profit of £74K. |  |  | The chart compares the average Linepack Measure in the month (the blue line) to the daily incentive target (the orange line), where the target is an LPM of 2.8mcm. For Q4, in January and March the Average LPM was within the desired target (1.63 mcm in January and 2.38 mcm in March), but in February the Average LPM was above the target (3.07 mcm). This resulted in an overall end of year profit of £179K.

## Capacity
CAPACITY
Introduction
Scheme Description: | National Grid auctions firm capacity for entry onto the National Transmission System (NTS) at ASEPs (Aggregated System Entry Points). If constraints arise on the day and flows into the network exceed operational limits, National Grid may have to buy back firm entry capacity to reduce flows. National Grid is incentivised to keep these costs down by managing the NTS efficiently.
Scheme Description
Performance Measure: Costs of Entry Capacity constraint management actions
For 2011/12 the cost target is now £16.71m. The scheme has upside and downside sharing factors of 50% with a profit cap of £16.71m and a loss collar of £12.38m (all values in 2011/12 prices).
Performance
The chart shows the monthly cumulative buy-back cost performance measure. The annual target cost for this incentive is £16.71m. The end of year performance is a cost of £439K . The costs for EnCOBBCt for Q3 and Q4 include the cost of the Force Majeure Options arrangement at Milford Haven.
Supporting Data
EnCOBBIPt | = | EnCOBBCt | - | AOEnCRDt | - | REVICt | - | (ANOEnCRt - EnCNOIRt) | - | RCORt | - | RLOCt | - | RADDt
Buyback Cost Performance Measure | Total Capacity Constraint Management Costs BBCd,t + ECCCd,t |  | Daily Sales Revenue From Obligated Capacity ANIOEnCRDt + AFIOEnCRDt |  | Revenue received from interruptible capacity sales |  | Non-Obligated Sales Revenue NB This is now total non-ob sales minus those associated with accelerated release |  | Revenue from overrun charges (one month in arrears) |  | Revenue from locational sells |  | Any other revenue which the Authority decides (Nothing put through this yet)
| 2011-04-01 | 2011-05-01 | 2011-06-01 | 2011-07-01 | 2011-08-01 | 2011-09-01 | 2011-10-01 | 2011-11-01 | 2011-12-01 | 2012-01-01 | 2012-02-01 | 2012-03-01 | Total
EnCOBBIPt | -422426 | -856046 | -28662 | -40671.36 | -21604.93 | -21642.01 | 396922.4397 | 411856.24 | 404257.81 | 227980.9497 | 161440 | 227601.08 | 439006.2193
Cumulative EnCOBBIPt | -422426 | -1278472 | -1307134 | -1347804.6361 | -1369409.5661 | -1391051.5761 | -994129.1364 | -582272.8964 | -178015.0864 | 49965.8632 | 211405.8632 | 439006.9432
EnCOBBCt | 0 | 0 | 0 | 0 | 0 | 0 | 508399.9797 | 492000 | 508400 | 508399.9797 | 475600 | 508400 | 3001199.9593
AOEnCRDt | -7697 | -6003 | -5931 | -7817.59 | -7792.39 | -4966.7 | -4809.39 | -5642.7 | -2987.9 | -2266.76 | -4121.4 | -4687.59 | -64723.42
REVICt | -14146 | -14867 | -7794 | -10812.8 | -13052.7 | -15133.5 | -19375 | -17863.2 | -21286.78 | -31542.16 | -34528.48 | -31135.77 | -231537.39
(ANOEnCRt - EnCNOIRt) | 0 | 0 | 0 | 0 | 0 | 0 | -55973.6 | -54168 | -55973.6 | -237418.46 | -222205.14 | -237468.46 | -863207.26
RCORt | -10738 | -35510 | -14937 | -22040.97 | -759.84 | -1541.81 | -31319.55 | -2469.86 | -23893.91 | -9191.65 | -53304.98 | -7507.1 | -213214.67
RLOCt | -389845 | -799666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1189511
RADDt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Demand Forecasting
DEMAND FORECASTING
Introduction
Scheme Description: | The demand forecasting incentive rewards improvements in demand forecasting accuracy. National Grid publishes national gas demand forecasts over a range of timescales. Since Winter 2006/07, the accuracy of the forecast published day-ahead at 13:00 has been subject to an incentive. National Grid has a performance measure of achieving a forecasting accuracy of 2.75%. This is calculated as the "Sum of each day’s absolute error divided by the sum of each day’s actual demand" over a one year time period. This has an accompanying incentive looking at website performance – together they are both referred to as the “Quality of Information” incentive.
Target | 2.75%
Scheme Description
Performance Measure: Level of Forecast Error
The sharing factors of the scheme are designed to give a profit or loss to National Grid of £1.6m for a 0.25% increase or decrease in performance around the target of 2.75% (between 2.5% and 3%). There is a shallower upside sharing factor for performance increases beyond 2.5% which extends up to a maximum payment of £8.27m, if zero average absolute demand forecast error could be achieved (i.e. zero demand forecast error on every day of a year).
Performance
The chart compares the monthly cumulative absolute forecast error (the blue line) to the incentive target (the orange line), where the target is a cumulative absolute error of 2.75% for the full year. The green band represents a cumulative forecast error lower than the target, with the bottom of the band representing an illustrative profit of £1.6m - this is not the incentive cap. Similarly the yellow band represents a cumulative absolute forecast error higher than the target, with the top of the band representing a collared loss of £1.6m. The Cumulative Absolute Percentage Error for 2011/12 is 3.36%, representing a collared loss of £1.6m to the incentive.
Supporting Data
Month | Sum of Actual Demand (mcm) | Sum of Absolute Error (mcm) | Cumulative Actual Demand (mcm) | Cumulative Absolute Error (mcm) | Absolute Percentage Error | Minimum Percentage Error | Maximum Percentage Error | Cumulative Absolute Percentage Error
2011-04-01 | 8069.48 | 263.83 | 8069.48 | 263.83 | 3.269% | 0.03% | 7.98% | 3.269%
2011-05-01 | 7360.24 | 256.76 | 15429.72 | 520.59 | 3.488% | 0.22% | 9.9% | 3.374%
2011-06-01 | 6192.63 | 156.6477 | 21622.35 | 677.2377 | 2.53% | 0.15% | 9.19% | 3.132%
2011-07-01 | 6381.6 | 215.03 | 28003.95 | 892.2677 | 3.37% | 0.09% | 9.56% | 3.186%
2011-08-01 | 6327.81 | 221.84 | 34331.76 | 1114.1077 | 3.506% | 0.26% | 8.78% | 3.245%
2011-09-01 | 6001.38 | 213.2 | 40333.14 | 1327.3077 | 3.553% | 0.23% | 9.94% | 3.291%
2011-10-01 | 7523.2932 | 290.0886 | 47856.4332 | 1617.3963 | 3.856% | 0.06% | 13.37% | 3.38%
2011-11-01 | 8160.34 | 298.99 | 56016.7732 | 1916.3863 | 3.664% | 0.05% | 9.99% | 3.421%
2011-12-01 | 9357.358 | 403.466 | 65374.1312 | 2319.8523 | 4.312% | 0.32% | 15.97% | 3.549%
2012-01-01 | 9501.76 | 263.73 | 74875.8912 | 2583.5823 | 2.776% | 0.1% | 7.11% | 3.45%
2012-02-01 | 9474.78 | 285.21 | 84350.6712 | 2868.7923 | 3.01% | 0.12% | 6.9% | 3.401%
2012-03-01 | 8147.08 | 243.32 | 92497.7512 | 3112.1123 | 2.987% | 0.07% | 7.95% | 3.365%
Target error
2.75%

## Data Publication
DATA PUBLICATION
Introduction
Scheme Description: | Alongside the demand forecasting incentive, this incentive covers a broader selection of gas system data published on the National Grid website. National Grid is incentivised for the availability and timeliness of data; * To keep the website available with a target at 99.3% (measured for three key screens). * To publish data promptly with the target that 90.5% of hourly updates should be posted within 10 minutes of the start of the hour (measured for 3 key reports) and to publish data to comply with UNC requirements for within day and D-1 Demand forecasts (measured for 1 key report).
Key Terms Availability | QWAIR | WAPPV |  |  | WAPDE |  |  | WAPRE
Definitions | The quality of website availability incentive revenue | The website availability performance measure expressed as the number of minutes of downtime of the Operational Data>Prevailing View screen |  |  | The website availability performance measure expressed as the number of minutes of downtime of the Operational Data>Data Explorer screen |  |  | The website availability performance measure expressed as the number of minutes of downtime of the Operational Data>Report Explorer screen
Key Terms Timeliness | QWTIR | WTPL |  |  | WTPNN |  |  | WTPNA |  |  | WTPDF
Definitions | The quality of website timeliness incentive revenue | The website timeliness performance measure for the Predicted Closing Linepack Data Item or Report |  |  | The website timeliness performance measure for the National Forecast Flow Data Item or Report |  |  | The website timeliness performance measure for the National Physical Flow Data Item or Report |  |  | The website timeliness performance measure for the NTS Throughput Data Item or Report
Scheme Description
Performance Measure: Timeliness & Availibility of the website
If the performance measures for timeliness and availability are met each month then National Grid receives a total payment of £6,250 per month (£75,000 per annum). If performance exceeds the target then National Grid receives an increased payment up to a maximum additional amount of £2,084 per month (£25,000 per annum). If performance is below target National Grid incurs a penalty of up to £8,334 (£100,000 per annum).
Performance
The chart compares the average number of minutes for which the incentivised web pages were unavailable in the month (the blue columns) to the incentive target (the orange line), where the target represents 99.3% availability. The green band represents availability better than the target, with the bottom of the band representing an illustrative profit of £3,225/month - this is not the incentive cap. Similarly the yellow band represents availability worse than the target, with the top of the band representing an illustrative loss of £100/month - this is not the incentive collar. The chart shows that in Q4, the performance for all three months was below target levels, resulting in an end of year loss of £2,197 for the Availability portion of this incentive. | [7 empty] | The chart compares the average timeliness of the incentivised reports for the month (the blue columns) to the incentive target (the orange line), where the target represents 90.5% published within 10 minutes. The green band represents timeliness better than the target, with the top of the band representing an illustrative profit of £3,225/month - this is not the incentive cap. Similarly the yellow band represents timeliness worse than the target, with the bottom of the band representing an illustrative loss of £100/month - this is not the incentive collar. The chart shows that in Q4, performance for all three months was below target levels, resulting in an end of year loss of £8,153 for the Timeliness portion of this incentive.
Supporting Data
| Website Performance |  | 2011-04-01 | 2011-05-01 | 2011-06-01 | 2011-07-01 | 2011-08-01 | 2011-09-01 | 2011-10-01 | 2011-11-01 | 2011-12-01 | 2012-01-01 | 2012-02-01 | 2012-03-01 | Total
Incentive Revenue £ | Availability - QWAIR |  | 3607.6035 | -46.3511 | -109.4337 | -94.2201 | -179.688 | -351.9903 | -369.77 | -348.93 | -622.61 | -789.19 | -1573.91 | -1318.53 | -2197.0197
| Timeliness - QWTIR |  | 3396.4684 | -134.2848 | -255.7806 | 3303.2368 | 3226.4579 | -722.5803 | -2151.75 | -1736.11 | -1873.59 | -2871.14 | -4167 | -4167 | -8153.0726
| Total (QWAIR + QWTIR) |  | 7004.0719 | -180.6359 | -365.2144 | 3209.0167 | 3046.7699 | -1074.5706 | -2521.52 | -2085.04 | -2496.2 | -3660.33 | -5740.91 | -5485.53 | -10350.0923
| Cumulative Availability - QWAIR |  | 3607.6035 | 3561.2524 | 3451.8186 | 3357.5985 | 3177.9105 | 2825.9203 | 2456.1503 | 2107.2203 | 1484.6103 | 695.4203 | -878.4897 | -2197.0197
| Cumulative Timeliness - QWTIR |  | 3396.4684 | 3262.1836 | 3006.4029 | 6309.6398 | 9536.0977 | 8813.5174 | 6661.7674 | 4925.6574 | 3052.0674 | 180.9274 | -3986.0726 | -8153.0726
Availability - Minutes | Prevailing View - WAPPV |  | 440 | 1053 | 1894 | 1467 | 2493 | 3759 | 3722 | 3749 | 5523 | 7614 | 12577 | 12040 | 56331
| Data Item Explorer - WAPDE |  | 13 | 200 | 104 | 281 | 274 | 573 | 721 | 407 | 944 | 776 | 1836 | 1443 | 7572
| Report Explorer - WAPRE |  | 32 | 217 | 126 | 272 | 235 | 489 | 743 | 631 | 1624 | 1615 | 3381 | 2604 | 11969
| Average Unavailability (Minutes) |  | 161.6667 | 490 | 708 | 673.3333 | 1000.6667 | 1607 | 1728.6667 | 1595.6667 | 2697 | 3335 | 5931.3333 | 5362.3333
| Availability Target (Minutes) |  | 302 | 312 | 302 | 312 | 312 | 302 | 312 | 302 | 312 | 312 | 282 | 312
Timeliness % | Predicted Closing Line Pack - WTPL |  | 75.1% | 74.2% | 73.9% | 76.9% | 77% | 63.7% | 55% | 59.2% | 60.8% | 48.4% | 27% | 25.4% | 59.72%
| National Forecast Flow - WTPNN |  | 98.6% | 86.7% | 84.4% | 95.8% | 94.7% | 90.4% | 63.6% | 60.1% | 58.1% | 67.5% | 37.9% | 28.64% | 72.2%
| National Physical Flow - WTPNA |  | 99.3% | 98% | 97.9% | 97.4% | 96.2% | 88.6% | 83.1% | 91.7% | 86.7% | 68.7% | 42.5% | 43.14% | 82.77%
| NTS Throughput (Forecast) - WTPDF |  | 98.9% | 98.9% | 97.8% | 98.4% | 97.8% | 96.7% | 93% | 96.7% | 97.8% | 87.6% | 67.8% | 76.34% | 92.31%
| Average Timeliness (%) |  | 92.97% | 89.45% | 88.5% | 92.12% | 91.42% | 84.85% | 73.67% | 76.92% | 75.85% | 68.05% | 43.8% | 43.38%
| Timeliness target (%) |  | 90.5% | 90.5% | 90.5% | 90.5% | 90.5% | 90.5% | 90.5% | 90.5% | 90.5% | 90.5% | 90.5% | 90.5%

## Shrinkage
SHRINKAGE
Introduction
Scheme Description: | NTS Shrinkage covers the gas and electrical energy which is used in operating NTS compressors and to cater for gas that cannot be accounted for and billed in the measurement and allocation process. The components that comprise shrinkage are summarised as: 1/ Compressor Fuel Use (CFU): The energy used to run compressors to transport gas through the NTS. For gas driven compressors this is Own Use Gas (OUG), for electric driven compressors this is Electric Compressor Energy (ECE). 2/ Calorific Value (CV) shrinkage: The energy which cannot be billed due to CV capping under application of the Gas (Calculation of Thermal Energy) Regulations 1996 (amended in 1997). 3/ Unaccounted for Gas (UAG): The quantity of gas which remains after taking into account all measured inputs and outputs from the system, own use gas consumption, CV Shrinkage and the daily change in NTS linepack.
Scheme Description
Performance Measure: Costs
Sharing factors are 25% upside and 20% downside with a maximum incentive profit of £5m and a maximum incentive loss of £4m. If total spend against the incentive is below the target (i.e. the cost target outperformance is positive), National Grid receives a payment equivalent to 25% of the underspend, subject to a limit of £5m. Conversely, if total spend is above the target, National Grid incurs a penalty of 20% of the overspend, subject to a limit of £4m.
Performance
OVERALL (GAS & ELECTRICITY) | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4
| 2011-04-01 | 2011-05-01 | 2011-06-01 | 2011-07-01 | 2011-08-01 | 2011-09-01 | 2011-10-01 | 2011-11-01 | 2011-12-01 | 2012-01-01 | 2012-02-01 | 2012-03-01 | Total
Total Incentive Costs (£m) - SC t | 13.2732 | 11.1908 | 8.55 | 7.0951 | 6.357 | -6.7356 | 8.8759 | 10.6194 | 11.1494 | 9.0584 | 7.8231 | 8.4167
Cumulative Total Incentive Costs (£m) - SC t | 13.2732 | 24.464 | 33.014 | 40.1091 | 46.4661 | 39.7305 | 48.6065 | 59.2259 | 70.3753 | 79.4337 | 87.2568 | 95.6736
NTS Shrinkage Cost Incentive Target (£m) - SIT t | 2011-06-01: 33.738; 2011-09-01: 16.7582; 2011-12-01: 39.0556; 2012-03-01: 34.9705 | 124.5223
Cumulative NTS Shrinkage Cost Incentive Target (£m) - SIT t | 11.246 | 22.492 | 33.738 | 39.324 | 44.9101 | 50.4961 | 63.5147 | 76.5332 | 89.5518 | 101.2086 | 112.8654 | 124.5223
Maximum Incentive Loss (£4m) | 12.9127 | 25.8253 | 38.738 | 45.9907 | 53.2434 | 60.4961 | 75.1814 | 89.8666 | 104.5518 | 117.8753 | 131.1988 | 144.5223
Maximum Incentive Profit (£5m) | 9.5793 | 19.1586 | 28.738 | 32.6574 | 36.5768 | 40.4961 | 51.848 | 63.1999 | 74.5518 | 84.5419 | 94.5321 | 104.5223
| 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 31 | 29 | 31
| 1.6667 | 3.3333 | 5 | 6.6667 | 8.3333 | 10 | 11.6667 | 13.3333 | 15 | 16.6667 | 18.3333 | 20
The chart compares cumulative total shrinkage costs (the blue bars) to an indicative cumulative target (the orange line). The green band represents costs below the target, with the bottom of the band representing the profit cap of £5m. Conversely the yellow band represents costs higher than target, with the top of the band representing a collared loss of £4m. The end of year Cumulative Incentive Costs (as of March 2012) are £95.67m, resulting in a capped incentive profit of £5m.
Supporting Data
| Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4
Gas Volume and Reference Price | 2011-04-01 | 2011-05-01 | 2011-06-01 | 2011-07-01 | 2011-08-01 | 2011-09-01 | 2011-10-01 | 2011-11-01 | 2011-12-01 | 2012-01-01 | 2012-02-01 | 2012-03-01 | Total
Outturn -Shrinkage Gas (GWh) | 748.7476 | 628.3014 | 458.5908 | 351.9206 | 364.9881 | 343.5671 | 466.8959 | 491.4704 | 556.5502 | 455.4159 | 484.4399 | 340.2397 | 5691.1278
Cumulative Outturn | 748.7476 | 1377.049 | 1835.6398 | 2187.5604 | 2552.5485 | 2896.1156 | 3363.0115 | 3854.4819 | 4411.0322 | 4866.4481 | 5350.888 | 5691.1278
Target Volumes GWh (GSVTP t,q) | 2011-06-01: 1618.3181; 2011-09-01: 880.2243; 2011-12-01: 1383; 2012-03-01: 1149 | 5030.5423
Cumulative Target Volumes (GWh) | 2011-06-01: 1618.3181; 2011-09-01: 2498.5423; 2011-12-01: 3881.5423; 2012-03-01: 5030.5423
Traded WAP (p/therm) | 52.0758 | 52.0758 | 52.0758 | 50.8739 | 50.8739 | 50.8739 | 57.5801 | 57.5801 | 57.5801 | 59.3897 | 59.3897 | 59.3897
52.0758
Days per month
| Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4
Electricity Volumes and Reference Price | 2011-04-01 | 2011-05-01 | 2011-06-01 | 2011-07-01 | 2011-08-01 | 2011-09-01 | 2011-10-01 | 2011-11-01 | 2011-12-01 | 2012-01-01 | 2012-02-01 | 2012-03-01 | Total
Outturn -Shrinkage Electricity (GWh) | 1.5263 | 1.5174 | 1.7105 | 3.7318 | 3.0085 | 1.2486 | 1.3987 | 3.127 | 1.5543 | 1.1085 | 2.0679 | 0.68516 | 22.6846
Cumulative Outturn (GWh) | 1.5263 | 3.0436 | 4.7541 | 8.486 | 11.4944 | 12.7431 | 14.1417 | 17.2687 | 18.823 | 19.9315 | 21.9994 | 22.6846
Target Volumes GWh (EVTt,q) | 2011-06-01: 28.5138; 2011-09-01: 1.4357; 2011-12-01: 104.84; 2012-03-01: 125.4208 | 260.2102
Cumulative Target Volumes (GWh) | 2011-06-01: 28.5138; 2011-09-01: 29.9494; 2011-12-01: 135; 2012-03-01: 260.4208
Traded WAP (£/MWh) | 56.5402 | 55.6532 | 62.1355 | 57.381 | 48.2827 | 64.1512 | 57.915 | 55.7287 | 54.9213 | 53.4502 | 66.4976 | 59.1103
Target Cost

## Ops Margin
OPERATING MARGINS
Introduction
Scheme Description: | Operating Margins (OM) gas is used to maintain National Transmission System (NTS) pressures in the immediate period following operational stresses and before market balancing measures become effective. Such stresses may result from supply failure, unanticipated demand changes or failure of an NTS pipeline or associated equipment. A quantity of OM is also procured to manage the orderly run-down of the System in the event of a Network Gas Supply Emergency whilst firm load shedding takes place.National Grid is incentivised for costs of utilisation of Operating Margins gas and the costs associated with holding Operating Margins gas against a target cost.
Scheme Description
Performance Measure: Costs
Sharing factors are 20% upside and 20% downside with a maximum incentive profit of £1m and a maximum incentive loss of -£1m. Target Incentive Cost for 2011/12 for the Operating Margins incentive is £17.32m.
Performance
The chart shows the cumulative costs of Operating Margins availability and utilisation. The total end of year cost was £15.52m (Q1 = £3.99m, Q2 = £3.79m, Q3 = £3.91m, Q4 = £3.83m).
Supporting Data
Month | Ops Margin Availability Costs (£m) OMAPCt | Ops Margin Utilisation Costs (£m) OMUPCt | Volume of Operating Margins (GWh)
2011-04-01 | 1.49 | 0 | 1208
2011-05-01 | 1.24 | 0 | 911
2011-06-01 | 1.26 | 0 | 911
2011-07-01 | 1.2931 | 0 | 911
2011-08-01 | 1.281 | 0 | 911
2011-09-01 | 1.218 | 0 | 911
2011-10-01 | 1.309 | 0 | 1050
2011-11-01 | 1.29 | 0 | 1050
2011-12-01 | 1.31 | 0 | 1050
2012-01-01 | 1.29 | 0 | 1021
2012-02-01 | 1.25 | 0 | 1021
2012-03-01 | 1.29 | 0 | 1021

## Residual Balancing
RESIDUAL BALANCING
Introduction
Scheme Description: | The incentive contains two elements, the Price Performance Measure (PPM) and the Linepack Measure (LPM). As National Grid has no direct exposure to the costs of its balancing actions, the PPM is set to encourage National Grid to trade efficiently on behalf of the community, minimising the overall costs passed to neutrality and paid by shippers, and minimising its impact on cashout prices. The PPM is defined as the price differential between any National Grid trades, measured as a percentage of System Average Price (SAP), which encourages price efficiency by incentivising National Grid to carry out any balancing actions in a narrow price band. The LPM incentivises National Grid to minimise any changes between starting and closing NTS linepack over a gas day. This is intended to ensure that any system imbalances are resolved on the relevant day, ensuring that the costs of resolving any imbalances are targeted to those responsible for the imbalance.
Scheme Description
Performance Measure: the price differential between any National Grid trades, divided by SAP.
If the Price Performance Measure is below 1.5% on a given gas day then National Grid receives an incentive payment up to a maximum of £1,500. Conversely if the PPM is above 1.5% then National Grid incurs a penalty up to a maximum of £30,000.
Scheme Description
Performance Measure: the absolute difference between starting and closing NTS linepack over a gas day.
If the Linepack Measure is below 2.8mcm on a given gas day then National Grid receives an incentive payment up to a maximum of £4,000. This maximum applies at 1.5mcm, so there is no incentive for National Grid to balance the system beyond this point. Conversely if the Linepack Measure is above 2.8mcm then National Grid incurs a penalty up to a maximum of £30,000.
Performance
The chart compares the average Price Performance Measure in the month (the blue line) to the incentive target (the orange line), where the target is a PPM of 1.5%. The green band represents a PPM lower than the target, with the bottom of the band representing a profit of £1,500/day. Similarly the yellow band represents a PPM higher than the target, with the top of the band representing an illustrative loss of £3,500/day - this is not the incentive collar. For Q4, in all months the Average PPM were within the target level; (0.94% in January, 1.29% in February and 0.99% in March), resulting in an end of year profit of £74K. | [7 empty] | The chart compares the average Linepack Measure in the month (the blue line) to the daily incentive target (the orange line), where the target is an LPM of 2.8mcm. The green band represents an LPM lower than the target, with the bottom of the band representing a capped profit of £4,000/day. Similarly the yellow band represents an LPM higher than the target, with the top of the band representing an illustrative loss of £4,000/day - this is not the incentive collar. For Q4, in January and March the Average LPM was within the desired target (1.63 mcm in January and 2.38 mcm in March), but in February the Average LPM was above the target (3.07 mcm). This resulted in an overall end of year profit of £179K.
Supporting Data
-1 | Price | [6 empty] | Linepack
Month | Sum of Daily Price Incentive Payment (DPIP) (£) | Cumulative Sum of DPIP (£) | Sum of DPIP (£k) | Cumulative Sum of DPIP (£m) | Average Monthly PPM (%) | Min PPM (%) | Max PPM (%) | Sum of Daily Linepack Incentive Payment (£) DLIP | Cumulative Sum of DLIP (£) | Sum of DLIP (£k) | Cumulative Sum of DLIP (£m) | Average Monthly LPM (mcm) | Min LPM (mcm) | Max LPM (mcm)
2011-04-01 | -22643.2849 | -22643.2849 | -22.6433 | -0.022643 | 2.72 | 0 | 11.77 | 10149.5312 | 10149.5312 | 10.1495 | 0.01015 | 2.48 | 0 | 7.67
2011-05-01 | 19683.5463 | -2959.7386 | 19.6835 | -0.0029597 | 0.87 | 0 | 4.2 | 56074.582 | 66224.1132 | 56.0746 | 0.066224 | 2.03 | 0.08 | 3.92
2011-06-01 | 27795.0606 | 24835.322 | 27.7951 | 0.024835 | 0.57 | 0 | 3.55 | 76682.926 | 142907.0392 | 76.6829 | 0.14291 | 1.67 | 0.07 | 4.59
2011-07-01 | 14781.6494 | 39616.9714 | 14.7816 | 0.039617 | 1.03 | 0 | 5.27 | 34339.3921 | 177246.4313 | 34.3394 | 0.17725 | 2.13 | 0.04 | 5.4
2011-08-01 | 14993.8602 | 54610.8316 | 14.9939 | 0.054611 | 1.02 | 0 | 4.15 | 43521.0023 | 220767.4336 | 43.521 | 0.22077 | 2.12 | 0.04 | 5.11
2011-09-01 | -13836.4052 | 40774.4264 | -13.8364 | 0.040774 | 2.79 | 0 | 21.17 | -48607.7043 | 172159.7293 | -48.6077 | 0.17216 | 3.41 | 0.29 | 12.5
2011-10-01 | -22672.8296 | 18101.5968 | -22.6728 | 0.018102 | 3.23 | 0 | 42.68 | -87209.5441 | 84950.1852 | -87.2095 | 0.08495 | 3.93 | 0.57 | 15.56
2011-11-01 | 15422.5626 | 33524.1594 | 15.4226 | 0.033524 | 1.05 | 0 | 7.99 | 6228.1701 | 91178.3553 | 6.2282 | 0.091178 | 2.42 | 0.03 | 8.78
2011-12-01 | -7574.233 | 25949.9264 | -7.5742 | 0.02595 | 2.4 | 0 | 27.03 | 22728.3884 | 113906.7437 | 22.7284 | 0.11391 | 2.29 | 0.04 | 9.3
2012-01-01 | 20530.15 | 46480.0764 | 20.5301 | 0.04648 | 0.94 | 0 | 9.01 | 72832.81 | 186739.5537 | 72.8328 | 0.18674 | 1.63 | 0.02 | 6.45
2012-02-01 | 9239 | 55719.0764 | 9.239 | 0.055719 | 1.29 | 0 | 9.62 | -26165.32 | 160574.2337 | -26.1653 | 0.16057 | 3.07 | 0.24 | 8.01
2012-03-01 | 17917.9116 | 73636.988 | 17.9179 | 0.073637 | 0.99095 | 0 | 8.42 | 18153.7 | 178727.93 | 18.1537 | 0.17873 | 2.38 | 0.01 | 7.62
Trades
Month | Volume of buys (kWh) | Volume of sells (kWh) | Volume of sells (kWh) | Number of buys | Number of sells | Number of days - buys | Number of days - sells | SELL Min Price (ppt) | SELL Max Price (ppt) | BUY Min Price (ppt) | BUY Max Price (ppt)
2011-04-01 | 1465355 | 953389270 | -953389270 | 1 | -382 | 1 | -16 | -39.76 | -58.6 | 55.8 | 55.8
2011-05-01 | 94544705 | 583269904 | -583269904 | 41 | -205 | 5 | -11 | -50 | -59.14 | 54.3 | 59.5
2011-06-01 | 59874405 | 393389203 | -393389203 | 23 | -166 | 5 | -11 | -52 | -59.47 | 58.8 | 60.25
2011-07-01 | 127544499 | 771568021.7 | -771568021.7 | 42 | -332 | 4 | -15 | -50.8 | -57.15 | 53.2 | 57.65
2011-08-01 | 217517296.2 | 388494917.6 | -388494917.6 | 97 | -178 | 9 | -10 | -50.02 | -57.95 | 50.95 | 61.4
2011-09-01 | 97299572 | 735373753.2 | -735373753.2 | 37 | -316 | 5 | -11 | -33.25 | -58.75 | 56 | 61.25
2011-10-01 | 207963181.6 | 721071888.4 | -721071888.4 | 83 | -287 | 6 | -13 | -25.5 | -62.05 | 44.75 | 63
2011-11-01 | 342160392.5 | 125991222.9 | -125991222.9 | 121 | -53 | 9 | -6 | -51.25 | -60.65 | 54.6 | 63.5
2011-12-01 | 250136098.5 | 285216697.2 | -285216697.2 | 94 | -136 | 11 | -9 | -36 | -58.5 | 52.95 | 60
2012-01-01 | 233196594.7 | 324165833.1 | -324165833.1 | 87 | -125 | 9 | -6 | -37.85 | -54.25 | 54.2 | 59.2
2012-02-01 | 83027014.3 | 336562736.4 | -336562736.4 | 40 | -153 | 4 | -11 | -55.75 | -72 | 60.85 | 79
2012-03-01 | 263089836 | 281901995 | -281901995 | 115 | -128 | 9 | -7 | -48.5 | -59.65 | 58.1 | 61.75
NB: "Sell" is depicted as a negative figure for graphical purposes only

## Greenhouse Gas Emissions
Greenhouse Gas Emissions Incentive
Introduction
Scheme Description: | The Greenhouse Gas Emissions Incentive scheme encourages National Grid to make the economic trade-off between choosing to depressurise compressor units (venting the gas within them) or to keep units on standby - which incurs costs associated with ancillary electrical equipment (vent fans, oil pumps etc) and leakage through the shaft seal. The number of tonnes of natural gas vented from NTS compressors as a result of starting a compressor; purging a compressor; depressurising a compressor; or the leakage of gas through a seal around the shaft of a compressor are compared to a target volume. The incentive target volume of natural gas is 2,857 to 3,157 tonnes. The scheme has no sharing factors, caps or collars and uses a reference price of £1,145 per tonne of natural gas vented.
Scheme Description
Performance Measure: Mass of natural gas vented from NTS compressors
The incentive target volume for 2011/12 is 2,857 to 3,157 tonnes of natural gas. For every tonne vented above or below the target, National Grid is subject to a penalty or payment of £1,145. This is equivalent to £100,000 for every 87 tonnes vented above or below the target band.
Performance
The chart compares the cumulative mass of natural gas vented (the blue columns) to a cumulative target (the orange band) - note that the incentive target is an annual one and therefore the monthly targets are only indicative. The green band represents venting below the target, with the bottom of the band representing an illustrative payment of £500k - this is not the incentive cap. Conversely the yellow band represents vented gas above the target, with the top of the band representing an illustrative penalty of £500k - again, this is not the incentive collar. The end of year position is a vented mass of 2,982 tonnes, which is within the deadband, representing a profit / loss of £0.
Supporting Data
Month | Natural Gas Vented, in tonnes, from Compressors (VIPMt) | Cumulative Natural Gas Vented in tonnes
2011-04-01 | 145 | 145
2011-05-01 | 185 | 330
2011-06-01 | 216 | 546
2011-07-01 | 288 | 834
2011-08-01 | 179 | 1013
2011-09-01 | 230 | 1243
2011-10-01 | 225 | 1468
2011-11-01 | 274 | 1742
2011-12-01 | 360 | 2102
2012-01-01 | 307 | 2409
2012-02-01 | 346 | 2755
2012-03-01 | 227 | 2982
TOTAL | 2982
Target range
2,857 to 3,157 tonnes

## Unaccounted for Gas
UNACCOUNTED FOR GAS INCENTIVE
Introduction
Scheme Description: | The purpose of this Incentive is to incentivise a reduction in the absolute volumes of unaccounted for gas (UAG) over a 3 year period beginning in 2009. UAG is that energy which remains unallocated after accounting for all measured inputs and outputs from the NTS, Own Use Gas consumption, CV shrinkage and the change in NTS linepack. The primary cause is believed to be the inherent metering tolerances associated with entry and exit meters.
Scheme Description
Performance Measure: Absolute Level of UAG
The UAG incentive is an upside only incentive in which National Grid will receive a payment of £4,667 for every GWh that absolute annual UAG is below 2,862GWh. The incentive has been set for three years with a cap on the amount that National Grid can earn each year of £2m in 2009/10, £3m in 2010/11 and £5m in 2011/12.
Performance
0
The chart compares cumulative absolute UAG (the blue columns) to a cumulative target (the orange line) - note that the incentive target is an annual one and therefore the monthly targets implied by the orange line are only indicative. The green band represents UAG below the target, with the bottom of the band representing a capped profit of £5m. This is an upside only incentive, therefore there is no yellow band. The end of year position is a Cumulative Absolute UAG of 4,925 GWh, representing a zero profit for this scheme.
Supporting Data
Month | Absolute volume of Unaccounted for Gas (GWh) UAGOt | Cumulative Absolute UAG (GWh)
2011-04-01 | 534 | 534
2011-05-01 | 507 | 1041
2011-06-01 | 425 | 1466
2011-07-01 | 418 | 1884
2011-08-01 | 360 | 2244
2011-09-01 | 421 | 2665
2011-10-01 | 428 | 3093
2011-11-01 | 422 | 3515
2011-12-01 | 345 | 3860
2012-01-01 | 328 | 4188
2012-02-01 | 393 | 4581
2012-03-01 | 344 | 4925
TOTAL | 4925

## Graph Data (hidden)
"HIDE" THIS SPREADSHEET ONCE EVERYTHING IS COMPLETED
This information is used to derive the graph parameters for each scheme
1 | Capacity |  |  |  |  | Scheme parameters
|  |  | Spend | QDIIR, £m |  | -80 | 16.7103
|  | Cap Point | -16.7106 | 16.7103 |  | -16.7106 | 16.7103
|  | Break Point | 16.71 | 0 |  | 16.71 | 0
|  | Collar Point | 41.466 | -12.378 |  | 41.466 | -12.378
[6 empty] | 80 | -12.378
2 | Demand Forecasting |  | Target | 0.03 |  | Scheme parameters
|  |  | QDIP, % | QDIIR, £m |  | -40 | -1.6 |  | 0.042
|  | Collar Point | -5 | -1.6 |  | -5 | -1.6 |  | 0.03
|  | Break Point | 5 | 1.6 |  | 5 | 1.6 |  | 0.027
|  | Cap Point | 100 | 8.27 |  | 100 | 8.27 |  | 0
[6 empty] | 105 | 8.27 |  | -0.0015
|  | Target = 2.75% | 0 to 2.5% | Up to £1.6m Loss | Up to £1.6m Profit
| 2011-04-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2011-05-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2011-06-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2011-07-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2011-08-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2011-09-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2011-10-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2011-11-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2011-12-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2012-01-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2012-02-01 | 2.75% | 2.5% | 0.25% | 0.25%
| 2012-03-01 | 2.75% | 2.5% | 0.25% | 0.25%
3 | Market Information
|  | Cap Point | 100% | 100
|  | Upper Target | 0% | 75
|  | Lower Target | 0% | 0
|  | Breakpoint | -27% | -75
|  | Collar Point | -100% | -100
|  | Website Performance | 2011-04-01 | 2011-05-01 | 2011-06-01 | 2011-07-01 | 2011-08-01 | 2011-09-01 | 2011-10-01 | 2011-11-01 | 2011-12-01 | 2012-01-01 | 2012-02-01 | 2012-03-01 | Total |  | Website Performance | 2011-04-01 | 2011-05-01 | 2011-06-01 | 2011-07-01 | 2011-08-01 | 2011-09-01 | 2011-10-01 | 2011-11-01 | 2011-12-01 | 2012-01-01 | 2012-02-01 | 2012-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total | Website Performance | 2009-04-01 | 2009-05-01 | 2009-06-01 | 2009-07-01 | 2009-08-01 | 2009-09-01 | 2009-10-01 | 2009-11-01 | 2009-12-01 | 2010-01-01 | 2010-02-01 | 2010-03-01 | Total
| Availability (Minutes) | Up to £100 loss/month | 371 | 383 | 371 | 383 | 383 | 371 | 383 | 371 | 383 | 383 | 346 | 383 |  |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695 |  | Incentive loss £100/month | 673 | 695 | 673 | 695 | 695 | 673 | 695 | 673 | 695 | 695 | 628 | 695
|  | Up to £3,225 profit/month | 29 | 30 | 29 | 30 | 30 | 29 | 30 | 29 | 30 | 30 | 27 | 30
|  | Profit above £3,225/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282 |  | Incentive profit +£100/month | 273 | 282 | 273 | 282 | 282 | 273 | 282 | 273 | 282 | 282 | 255 | 282
| Timeliness % | Loss above £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% |  | Incentive loss £250/month | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55% | 88.55%
|  | Up to £250 loss/month | 1.955% | 1.955% | 1.955% | 1.955% | 1.955% | 1.955% | 1.955% | 1.955% | 1.955% | 1.955% | 1.955% | 1.955%
|  | Up to £3,400 profit/month | 2.279% | 2.279% | 2.279% | 2.279% | 2.279% | 2.279% | 2.279% | 2.279% | 2.279% | 2.279% | 2.279% | 2.279% |  |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% |  | Incentive profit +£250/month | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78% | 92.78%
4 | Operating Margins | Utilisation | 2011-04-01: Target; 2011-05-01: 17.3219; 2011-07-01: Utilisation
|  |  | QDIP | QDIIR, £m |  | 0 | 1
|  | Zero Point | 2011-04-01: 0; 2011-05-01: 1; 2011-07-01: 12.4; 2011-08-01: 1
|  | Break Point | 2011-04-01: 17.32; 2011-05-01: 0; 2011-07-01: 17.32; 2011-08-01: 0
|  | Collar Point | 2011-04-01: 17.32; 2011-05-01: -1; 2011-07-01: 22.4; 2011-08-01: -1
[6 empty] | 40 | -1
|  |  | 2011-04-01 | 2011-05-01 | 2011-06-01 | 2011-07-01 | 2011-08-01 | 2011-09-01 | 2011-10-01 | 2011-11-01 | 2011-12-01 | 2012-01-01 | 2012-02-01 | 2012-03-01
|  | Monthly Target | 1.4435 | 1.4435 | 1.4435 | 1.4435 | 1.4435 | 1.4435 | 1.4435 | 1.4435 | 1.4435 | 1.4435 | 1.4435 | 1.4435
|  | Up to -£1m Loss | 0.42651 | 0.42651 | 0.42651 | 0.42651 | 0.42651 | 0.42651 | 0.42651 | 0.42651 | 0.42651 | 0.42651 | 0.42651 | 0.42651
|  | Up to £1m Profit | 0.41016 | 0.41016 | 0.41016 | 0.41016 | 0.41016 | 0.41016 | 0.41016 | 0.41016 | 0.41016 | 0.41016 | 0.41016 | 0.41016
|  |  | 1.0333 | 1.0333 | 1.0333 | 1.0333 | 1.0333 | 1.0333 | 1.0333 | 1.0333 | 1.0333 | 1.0333 | 1.0333 | 1.0333
|  |  | 1.87 | 1.87 | 1.87 | 1.87 | 1.87 | 1.87 | 1.87 | 1.87 | 1.87 | 1.87 | 1.87 | 1.87
5 | Residual Balancing |  | 2011-07-01: Scheme Parameters
[6 empty] | -4 | -3.5
|  |  | STIP | RBIR |  | -3.5 | -3.5
|  | Collar Point | 2011-04-01: -3.5; 2011-05-01: -3.5; 2011-07-01: 3.5; 2011-08-01: 3.5
|  | Cap Point | 2011-04-01: 3.5; 2011-05-01: 3.5; 2011-07-01: 4; 2011-08-01: 3.5
PPM
|  | Cap point | 2011-04-01: 0%; 2011-05-01: 1500
|  | Breakpoint | 2011-04-01: 5%; 2011-05-01: -3500
|  | Breakpoint | 2011-04-01: 75.67%; 2011-05-01: -30000
|  | Collar point | 2011-04-01: 100%; 2011-05-01: -30000
LPM
|  | Cap point | 2011-04-01: 0; 2011-05-01: 4000
|  | Breakpoint | 2011-04-01: 1.5; 2011-05-01: 4000
|  | Breakpoint | 2011-04-01: 2.8; 2011-05-01: 0
|  | Collar point | 2011-04-01: 15; 2011-05-01: -30000
|  | Collar point | 2011-04-01: 30; 2011-05-01: -30000
|  |  | PPM |  |  |  | LM
|  |  | More than £1,250 profit/day | Up to £1,500 profit/day | PPM Target | Up to £3,500 loss/day | More than £4,000 profit/day | Up to £4,000 profit/day | LPM Target | Up to £4,000 loss/day
|  | 2011-04-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2011-05-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2011-06-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2011-07-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2011-08-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2011-09-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2011-10-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2011-11-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2011-12-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2012-01-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2012-02-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
|  | 2012-03-01 | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 2.8 | 1.6267
6 | Shrinkage | [13 empty] | budget | 142.4382
|  | Collar point | 2011-04-01: -25; 2011-05-01: -4 |  | 0.5
|  | Collar Point | 2011-04-01: -20; 2011-05-01: -4
|  | Break Point | 2011-04-01: 0; 2011-05-01: 0
|  | Cap Point | 2011-04-01: 20; 2011-05-01: 5
|  | Cap Point | 2011-04-01: 25; 2011-05-01: 5
|  | Maximum Incentive Profit: £5m | 11.2992 | 22.5985 | 33.8977 | 39.5049 | 45.1121 | 50.7193 | 64.0658 | 77.4123 | 90.7588 | 106.5267 | 122.2947 | 138.0626
|  | Up to £5m profit | 1.6667 | 3.3333 | 5 | 6.6667 | 8.3333 | 10 | 11.6667 | 13.3333 | 15 | 16.6667 | 18.3333 | 20
|  | Up to £4m loss | 1.6667 | 3.3333 | 5 | 6.6667 | 8.3333 | 10 | 11.6667 | 13.3333 | 15 | 16.6667 | 18.3333 | 20
7 | Environmental |  | 2011-04-01: Target; 2011-05-01: 0; 2011-07-01: Scheme parameters
|  | 0.001145 | 2011-04-01: Tonnes; 2011-05-01: EIR, £m
|  | Cap Point | 2011-04-01: 0; 2011-05-01: 3.2713; 2011-07-01: 0; 2011-08-01: 3.2713
|  | Lower Target | 2011-04-01: 2857; 2011-05-01: 0; 2011-07-01: 2857; 2011-08-01: 0
|  | Upper Target | 2011-04-01: 3157; 2011-05-01: 0; 2011-07-01: 3157; 2011-08-01: 0
|  | Collar Point | 2011-04-01: 6000; 2011-05-01: -3.2552; 2011-07-01: 6000; 2011-08-01: -3.2552
| Month | Natural Gas Vented, in tonnes, from Gas Powered Compressors (MEVt) | 2011-04-01: Cumulative Natural Gas Vented; 2011-05-01: >£500k; 2011-06-01: Up to £500k payment; 2011-07-01: Deadband; 2011-08-01: Up to £500k penalty; 2011-09-01: Days in month
| 2011-04-01 | 145 | 2011-04-01: 145; 2011-05-01: 198.9303; 2011-06-01: 35.8916; 2011-07-01: 24.6575; 2011-08-01: 35.8916; 2011-09-01: 30
| 2011-05-01 | 185 | 2011-04-01: 330; 2011-05-01: 404.4916; 2011-06-01: 72.9796; 2011-07-01: 50.137; 2011-08-01: 72.9796; 2011-09-01: 31
| 2011-06-01 | 216 | 2011-04-01: 546; 2011-05-01: 603.4219; 2011-06-01: 108.8712; 2011-07-01: 74.7945; 2011-08-01: 108.8712; 2011-09-01: 30
| 2011-07-01 | 288 | 2011-04-01: 834; 2011-05-01: 808.9833; 2011-06-01: 145.9592; 2011-07-01: 100.274; 2011-08-01: 145.9592; 2011-09-01: 31
| 2011-08-01 | 179 | 2011-04-01: 1013; 2011-05-01: 1014.5446; 2011-06-01: 183.0472; 2011-07-01: 125.7534; 2011-08-01: 183.0472; 2011-09-01: 31
| 2011-09-01 | 230 | 2011-04-01: 1243; 2011-05-01: 1213.4749; 2011-06-01: 218.9388; 2011-07-01: 150.411; 2011-08-01: 218.9388; 2011-09-01: 30
| 2011-10-01 | 225 | 2011-04-01: 1468; 2011-05-01: 1419.0362; 2011-06-01: 256.0268; 2011-07-01: 175.8904; 2011-08-01: 256.0268; 2011-09-01: 31
| 2011-11-01 | 274 | 2011-04-01: 1742; 2011-05-01: 1617.9665; 2011-06-01: 291.9184; 2011-07-01: 200.5479; 2011-08-01: 291.9184; 2011-09-01: 30
| 2011-12-01 | 360 | 2011-04-01: 2102; 2011-05-01: 1823.5278; 2011-06-01: 329.0064; 2011-07-01: 226.0274; 2011-08-01: 329.0064; 2011-09-01: 31
| 2012-01-01 | 307 | 2011-04-01: 2409; 2011-05-01: 2029.0892; 2011-06-01: 366.0944; 2011-07-01: 251.5068; 2011-08-01: 366.0944; 2011-09-01: 31
| 2012-02-01 | 346 | 2011-04-01: 2755; 2011-05-01: 2221.3885; 2011-06-01: 400.7896; 2011-07-01: 275.3425; 2011-08-01: 400.7896; 2011-09-01: 29
| 2012-03-01 | 227 | 2011-04-01: 2982; 2011-05-01: 2426.9498; 2011-06-01: 437.8776; 2011-07-01: 300.8219; 2011-08-01: 437.8776; 2011-09-01: 31
| TOTAL | 2982 | 2011-05-01: 2420.3188; 2011-06-01: 436.6812; 2011-07-01: 300; 2011-08-01: 436.6812
8 | NTS Unaccounted for Gas |  | 2011-04-01: Target; 2011-05-01: 0; 2011-07-01: Scheme parameters | budget
|  |  | 2011-05-01: £m; 2011-07-01: 0; 2011-08-01: 5 | 2862 | 0
|  | Collar Point | 2011-05-01: 0; 2011-07-01: 1790.4183; 2011-08-01: 5
|  | Break Point | 2011-04-01: 2862; 2011-05-01: 0; 2011-07-01: 2862; 2011-08-01: 0
|  | Cap Point | 2011-04-01: 1790.4183; 2011-05-01: 5; 2011-07-01: 4000; 2011-08-01: 0
| Month | Unaccounted for Gas (GWh) UAGOt | 2011-04-01: Cumulative Gross UAG (GWh); 2011-05-01: Incentive Target (GWh); 2011-06-01: Up to £5m profit; 2011-07-01: Cap equivalent (tonnes required to give £5m incentive revenue); 2011-08-01: Capped Profit = £5m; 2011-09-01: Days in month; 2011-11-01: Cumulative Incentive Target (GWh)
| 2010-04-01 | 414.7555 | 414.7555 | 235.2329 | 147.1577 | 88.0752 | 147.1577 | 30 | 0 | 235.2329 |  |  | 147.1577
| 2010-05-01 | 440.006 | 854.7615 | 243.074 | 152.0629 | 179.0862 | 299.2206 | 31 | -147.1577 | 478.3068 |  |  | 299.2206
| 2010-06-01 | 402.66 | 1257.4215 | 235.2329 | 147.1577 | 267.1615 | 446.3783 | 30 | -299.2206 | 713.5397 |  |  | 446.3783
| 2010-07-01 | 383 | 1640.4215 | 243.074 | 152.0629 | 358.1725 | 598.4412 | 31 | -446.3783 | 956.6137 |  |  | 598.4412
| 2010-08-01 | 441.9035 | 2082.325 | 243.074 | 152.0629 | 449.1835 | 750.5041 | 31 | -598.4412 | 1199.6877 |  |  | 750.5041
| 2010-09-01 | 375 | 2457.325 | 235.2329 | 147.1577 | 537.2587 | 897.6618 | 30 | -750.5041 | 1434.9205 |  |  | 897.6618
| 2010-10-01 | 676 | 3133.325 | 243.074 | 152.0629 | 628.2698 | 1049.7247 | 31 | -897.6618 | 1677.9945 |  |  | 1049.7247
| 2010-11-01 | 739 | 3872.325 | 235.2329 | 147.1577 | 716.345 | 1196.8824 | 30 | -1049.7247 | 1913.2274 |  |  | 1196.8824
| 2010-12-01 | 765 | 4637.325 | 243.074 | 152.0629 | 807.356 | 1348.9453 | 31 | -1196.8824 | 2156.3014 |  |  | 1348.9453
| 2011-01-01 | 723.9479 | 5361.2729 | 243.074 | 152.0629 | 898.3671 | 1501.0083 | 31 | -1348.9453 | 2399.3753 |  |  | 1501.0083
| 2011-02-01 | 1104.9295 | 6466.2025 | 219.5507 | 137.3472 | 980.5706 | 1638.3554 | 28 | -1501.0083 | 2618.926 |  |  | 1638.3554
| 2011-03-01 | 1226.8277 | 7693.0302 | 243.074 | 152.0629 | 1071.5817 | 1790.4183 | 31 | -1638.3554 | 2862 |  |  | 1790.4183
| TOTAL | 7693.0302 | 2011-05-01: 2862; 2011-09-01: 365