## Info
The information presented in the spreadsheets relate to analysis undertake by National Grid NTS to inform the discussions at the Gas Transmission Charging Methodologies Forum
Indicative baseline prices have been generated from the proposed Entry Capacity Baseline Reserve Price methodology (entry flows individually adjusted to reflect baseline/obligated capacity levels with supply substitution balancing rules)
Central case prices are based on unadjusted central case flows at all entry points and are presented for comparison.
060706 Gas TCMF
Data presented at 6 July 2006 Gas TCMF for Entry Capacity Reserve Price discussions. The expansion factor used to determine price data assumes:
- Latest compressor costs in line with assumptions for UCA analysis undertaken for Ofgem (and expected costs going forward) including project costs
- Pipeline costs as established in the April 2006 IECR consultation
- Corrected annuitisation factor using the current licence annuitisation (0.10772)
250506 Gas TCMF Cost Base
Data presented at 25 May 2006 Gas TCMF for entry/exit LRMC analysis discussions. The expansion factor used to determine price data assumes:
- Pipeline costs and compressor costs as established in the April 2006 IECR consultation
Please note that data and prices contained in this spreadsheet are illustrative prices and do not necessary represent the prices that National Grid NTS will apply in respect of future NTS Entry Capacity Charges

## 060706 Gas TCMF
| Licence Baseline Capacity 2006/7 | Licence Gross UCA | Licence UCA 2000 Price | Licence UCA 2006 /7 Price | LTSEC /MSEC 2006/7 Reserve Price | DSEC 2006/7 Reserve Price | Ofgem Proposed 0-50 GWh UCA 2008/9 | Indicative Baseline Price 2006/7 | Indicative Baseline Price 2007/8 | Indicative Baseline Price 2008/9 | Central Case 2006/7 Price | Central Case 2007/8 Price | Central Case 2008/9 Price
Entry Point | GWh/day | £/kWh or £m/GWh | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day
Bacton | 1745 | 0.182 | 0.0054 | 0.0063 | 0.0063 | 0.0042 | 0.018504 | 0.0064 | 0.007 | 0.0074 | 0.0061 | 0.0075 | 0.0079
Barrow | 712 | 0.014 | 0.0004 | 0.0005 | 0.0005 | 0.0003 | 0.0095708 | 0.0142 | 0.0111 | 0.0112 | 0.0096 | 0.007 | 0.0048
Easington&Rough | 1062 | 0.034 | 0.001 | 0.0012 | 0.0012 | 0.0008 | 0.0080746 | 0.0088 | 0.0095 | 0.0099 | 0.0088 | 0.0097 | 0.0101
Isle of Grain | 218 | 0.186 | 0.0055 | 0.0064 | 0.0064 | 0.0043 | 0.010244 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Milford Haven | 0 | 0.257 | 0.0076 | 0.0089 | 0.0089 | 0.0059 | 0.053653 | 0.0001 | 0.0154 | 0.0139 | 0.0001 | 0.0001 | 0.0089
St Fergus | 1677 | 0.639 | 0.0189 | 0.022 | 0.022 | 0.0147 | 0.0068646 | 0.043 | 0.0416 | 0.041 | 0.0416 | 0.039 | 0.0369
Teesside | 761 | 0.059 | 0.0017 | 0.002 | 0.002 | 0.0014 | 0.0077883 | 0.0178 | 0.0184 | 0.0184 | 0.013 | 0.0104 | 0.0082
Theddlethorpe | 848 | 0.031 | 0.0009 | 0.0011 | 0.0011 | 0.0007 | 0.022016 | 0.0098 | 0.0094 | 0.0089 | 0.0059 | 0.0068 | 0.0072
Burton Point | 55 | 0.002 | 0.0001 | 0.0001 | 0.0001 | 0 | 0.028648 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Hatfield Moor | 55 | 0.042 | 0.0012 | 0.0014 | 0.0014 | 0.001 | 0.015774 | 0.0029 | 0.0037 | 0.004 | 0.0016 | 0.0003 | 0.0007
Hole House Farm | 26 | 0.002 | 0.0001 | 0.0001 | 0.0001 | 0 | 0.032998 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Wytch Farm | 3.2 | 0 | 0 | 0 | 0 | 0 | #N/A | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Barton Stacey | 0 | 0 | 0 | 0 | 0 | 0 | 0.03149 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Blyborough | 0 | 0.035 | 0.001 | 0.0012 | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0
Burton Agnes | 0 | 0.075 | 0.0022 | 0.0026 | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0
Cheshire | 214 | 0.003 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0091282 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Garton | 420 | 0.039 | 0.0012 | 0.0013 | 0.0013 | 0.0009 | 0.011758 | 0.0112 | 0.011 | 0.011 | 0.0071 | 0.008 | 0.0073
Glenmavis | 99 | 0.532 | 0.0157 | 0.0183 | 0.0183 | 0.0122 | #N/A | 0.0205 | 0.0188 | 0.0185 | 0.0205 | 0.0179 | 0.0157
Hatfield Moor | 55 | 0.042 | 0.0012 | 0.0014 | 0.0014 | 0.001 | 0.015774 | 0.0029 | 0.0037 | 0.004 | 0.0016 | 0.0003 | 0.0007
Hornsea | 175 | 0.153 | 0.0045 | 0.0053 | 0.0053 | 0.0035 | 0.013292 | 0.0095 | 0.0099 | 0.0091 | 0.0094 | 0.0104 | 0.0061
Partington | 215 | 0.009 | 0.0003 | 0.0003 | 0.0003 | 0.0002 | #N/A | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Tatsfield | 0 | 0.083 | 0.0024 | 0.0029 | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0
Winkfield | 0 | 0.083 | 0.0024 | 0.0029 | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0
Avonmouth | 149 | 0.064 | 0.0019 | 0.0022 | 0.0022 | 0.0015 | #N/A | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Dynevor Arms | 50 | 0 | 0 | 0 | 0 | 0 | #N/A | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Notes:
Milford Haven permanent obligated capacity assumed to be 0 in 2006/7, 650 GWh in 2007/8 and 950 GWh in 2008/9 for the purposes of the baseline price analysis
Barton Stacey permanent obligated capacity assume to be 90 GWh in all years
Ofgem Proposed UCAs from TPCR Initial Proposals Consultation (June 2006)
Where baseline is zero and no obligated capacity has been released, prices are set to zero

## 250506 Gas TCMF cost base
| Licence Baseline Capacity 2006/7 | Licence Gross UCA | Licence UCA 2000 Price | Licence UCA 2006 /7 Price | LTSEC /MSEC 2006/7 Reserve Price | DSEC 2006/7 Reserve Price | Ofgem Proposed 0-50 GWh UCA 2008/9 | Indicative Baseline Price 2006/7 | Indicative Baseline Price 2007/8 | Indicative Baseline Price 2008/9 | Central Case 2006/7 Price | Central Case 2007/8 Price | Central Case 2008/9 Price
Entry Point | GWh/day | £/kWh or £m/GWh | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day | p/kWh/day
Bacton | 1745 | 0.182 | 0.0054 | 0.0063 | 0.0063 | 0.0042 | 0.018504 | 0.0046 | 0.005 | 0.0053 | 0.0044 | 0.0054 | 0.0056
Barrow | 712 | 0.014 | 0.0004 | 0.0005 | 0.0005 | 0.0003 | 0.0095708 | 0.0102 | 0.008 | 0.008 | 0.0069 | 0.005 | 0.0035
Easington&Rough | 1062 | 0.034 | 0.001 | 0.0012 | 0.0012 | 0.0008 | 0.0080746 | 0.0063 | 0.0069 | 0.0071 | 0.0063 | 0.007 | 0.0073
Isle of Grain | 218 | 0.186 | 0.0055 | 0.0064 | 0.0064 | 0.0043 | 0.010244 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Milford Haven | 0 | 0.257 | 0.0076 | 0.0089 | 0.0089 | 0.0059 | 0.053653 | 0.0001 | 0.0111 | 0.01 | 0.0001 | 0.0001 | 0.0064
St Fergus | 1677 | 0.639 | 0.0189 | 0.022 | 0.022 | 0.0147 | 0.0068646 | 0.0309 | 0.0299 | 0.0294 | 0.0299 | 0.028 | 0.0265
Teesside | 761 | 0.059 | 0.0017 | 0.002 | 0.002 | 0.0014 | 0.0077883 | 0.0128 | 0.0132 | 0.0132 | 0.0093 | 0.0075 | 0.0059
Theddlethorpe | 848 | 0.031 | 0.0009 | 0.0011 | 0.0011 | 0.0007 | 0.022016 | 0.0071 | 0.0068 | 0.0064 | 0.0042 | 0.0049 | 0.0052
Burton Point | 55 | 0.002 | 0.0001 | 0.0001 | 0.0001 | 0 | 0.028648 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Hatfield Moor | 55 | 0.042 | 0.0012 | 0.0014 | 0.0014 | 0.001 | 0.015774 | 0.002 | 0.0027 | 0.0029 | 0.0012 | 0.0002 | 0.0005
Hole House Farm | 26 | 0.002 | 0.0001 | 0.0001 | 0.0001 | 0 | 0.032998 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Wytch Farm | 3.2 | 0 | 0 | 0 | 0 | 0 | #N/A | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Barton Stacey | 0 | 0 | 0 | 0 | 0 | 0 | 0.03149 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Blyborough | 0 | 0.035 | 0.001 | 0.0012 | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0
Burton Agnes | 0 | 0.075 | 0.0022 | 0.0026 | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0
Cheshire | 214 | 0.003 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0091282 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Garton | 420 | 0.039 | 0.0012 | 0.0013 | 0.0013 | 0.0009 | 0.011758 | 0.008 | 0.0079 | 0.0079 | 0.0051 | 0.0058 | 0.0053
Glenmavis | 99 | 0.532 | 0.0157 | 0.0183 | 0.0183 | 0.0122 | #N/A | 0.0147 | 0.0135 | 0.0133 | 0.0148 | 0.0129 | 0.0113
Hatfield Moor | 55 | 0.042 | 0.0012 | 0.0014 | 0.0014 | 0.001 | 0.015774 | 0.002 | 0.0027 | 0.0029 | 0.0012 | 0.0002 | 0.0005
Hornsea | 175 | 0.153 | 0.0045 | 0.0053 | 0.0053 | 0.0035 | 0.013292 | 0.0068 | 0.0071 | 0.0065 | 0.0068 | 0.0074 | 0.0044
Partington | 215 | 0.009 | 0.0003 | 0.0003 | 0.0003 | 0.0002 | #N/A | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Tatsfield | 0 | 0.083 | 0.0024 | 0.0029 | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0
Winkfield | 0 | 0.083 | 0.0024 | 0.0029 | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0
Avonmouth | 149 | 0.064 | 0.0019 | 0.0022 | 0.0022 | 0.0015 | #N/A | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Dynevor Arms | 50 | 0 | 0 | 0 | 0 | 0 | #N/A | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0.0001
Notes:
Milford Haven permanent obligated capacity assumed to be 0 in 2006/7, 650 GWh in 2007/8 and 950 GWh in 2008/9 for the purposes of the baseline price analysis
Barton Stacey permanent obligated capacity assume to be 90 GWh in all years
Ofgem Proposed UCAs from TPCR Initial Proposals Consultation (June 2006)
Where baseline is zero and no obligated capacity has been released, prices are set to zero