## Commentary
Supply & Demand Scenario: |  | CENTRAL CASE
Increment Size: | 2.834 | Mscm
Model A | Transcost | Solver with non-negative constraint |  | Exit prices scaled to allowed revenue
Model B | Transcost | Solver with 50 50 Constraint |  | Exit prices adjusted to allowed revenue
Model C | Transcost | Solver with 50 50 Constraint | Backhaul | Exit prices adjusted to allowed revenue
Model D | Transcost | Solver with 50 50 Constraint | Backhaul and No-spare capacity | Exit prices adjusted to allowed revenue
Model F1 | Transportation Model | Reference node adjusted to 50 50 | Backhaul and No-spare capacity | Exit prices adjusted to allowed revenue | Single Expansion Factor
Model F2 | Transportation Model | Reference node adjusted to 50 50 | Backhaul and No-spare capacity | Exit prices adjusted to allowed revenue | Pipe diameter specific Exp. Factors
Each price worksheet contains estimates of raw Exit LRMCs, Entry LRMCs (Non-negative to represent Entry Reserve prices) and Exit Prices adjusted to recover alowed revenue
These charts show the difference between exit prices under the revised models calculated from year 1 S&D data compared with prevailing prices

## A cf Prevailing Prices
Impact of Rebalancing with Prevailing Methodology (Transcost)
|  | Prevailing Price | New Price | Change (%) | Change (Multiple) | Change
| Baglan_Bay_PG | 0.0212 | 0.0061 | -71.23% | 0.28774 | -0.0151
| Brimsdown_PG | 0.0123 | 0.0003 | -97.56% | 0.02439 | -0.012
| Rye_House_PG | 0.0123 | 0.0003 | -97.56% | 0.02439 | -0.012
| Didcot_PG | 0.0157 | 0.0037 | -76.43% | 0.23567 | -0.012
| Barking_PG | 0.0114 | 0.0003 | -97.37% | 0.026316 | -0.0111
| Terra_Severnside | 0.0149 | 0.0061 | -59.06% | 0.4094 | -0.0088
| Seabank_Abson | 0.0145 | 0.0061 | -57.93% | 0.42069 | -0.0084
| Coryton_PG | 0.0086 | 0.0003 | -96.51% | 0.034884 | -0.0083
| Damhead_Creek | 0.009 | 0.0008 | -91.11% | 0.088889 | -0.0082
| Medway_PG | 0.009 | 0.0008 | -91.11% | 0.088889 | -0.0082
| Little_Barford_PG | 0.0057 | 0.0003 | -94.74% | 0.052632 | -0.0054
| Corby_PG | 0.0046 | 0.0003 | -93.48% | 0.065217 | -0.0043
| Bacton_I/C | 0.0028 | 0.0003 | -89.29% | 0.10714 | -0.0025
| Great_Yarmouth_PG | 0.0028 | 0.0003 | -89.29% | 0.10714 | -0.0025
| Kings_Lynn_PG | 0.0027 | 0.0003 | -88.89% | 0.11111 | -0.0024
| Staythorpe_PG | 0.0027 | 0.0003 | -88.89% | 0.11111 | -0.0024
| Peterborough_PG | 0.0027 | 0.0003 | -88.89% | 0.11111 | -0.0024
| Spalding_PG | 0.002 | 0.0003 | -85% | 0.15 | -0.0017
| Sutton_Bridge_PG | 0.002 | 0.0003 | -85% | 0.15 | -0.0017
| BP_Saltend_HP | 0.0009 | 0.0003 | -66.67% | 0.33333 | -0.0006
| Saltend_PG | 0.0009 | 0.0003 | -66.67% | 0.33333 | -0.0006
| Stallingborough_PG | 0.0009 | 0.0003 | -66.67% | 0.33333 | -0.0006
| Immingham_PG | 0.0005 | 0.0003 | -40% | 0.6 | -0.0002
| Thornton_Curtis_PG | 0.0005 | 0.0003 | -40% | 0.6 | -0.0002
| Brigg_PG | 0.0005 | 0.0003 | -40% | 0.6 | -0.0002
| Cottam_PG | 0.0005 | 0.0003 | -40% | 0.6 | -0.0002
| Keadby_PG | 0.0001 | 0.0003 | 200% | 3 | 0.0002
| Goole_Glass | 0.0001 | 0.0003 | 200% | 3 | 0.0002
| AM_Paper | 0.0035 | 0.0136 | 288.6% | 3.8857 | 0.0101
| Roosecote_PG | 0.0023 | 0.0136 | 491.3% | 5.913 | 0.0113
| Sellafield_PG | 0.0023 | 0.0136 | 491.3% | 5.913 | 0.0113
| BP_Grangemouth | 0.0001 | 0.0126 | 12500% | 126 | 0.0125
| Longannet_PG | 0.0001 | 0.0126 | 12500% | 126 | 0.0125
| Peterhead_PG | 0.0001 | 0.0126 | 12500% | 126 | 0.0125
| Brunner_Mond | 0.0035 | 0.0164 | 368.6% | 4.6857 | 0.0129
| Moffat_I/C | 0.0001 | 0.0132 | 13100% | 132 | 0.0131
| Hays_Chemicals | 0.0035 | 0.0177 | 405.7% | 5.0571 | 0.0142
| SappiPaperMillCHP | 0.0085 | 0.0261 | 207.1% | 3.0706 | 0.0176
| KemiraInce_CHP | 0.0102 | 0.0279 | 173.5% | 2.7353 | 0.0177
| Rocksavage_PG | 0.0102 | 0.0279 | 173.5% | 2.7353 | 0.0177
| ICI_Runcorn | 0.0102 | 0.0279 | 173.5% | 2.7353 | 0.0177
| Connah's_Quay_PG | 0.01 | 0.0279 | 179% | 2.79 | 0.0179
| Deeside_PG | 0.01 | 0.0279 | 179% | 2.79 | 0.0179
| Shotton_Paper | 0.01 | 0.0279 | 179% | 2.79 | 0.0179
| Bridgewater_Paper | 0.01 | 0.0279 | 179% | 2.79 | 0.0179
| BASF | 0.0001 | 0.0202 | 20100% | 202 | 0.0201
| Phillips_Seal_Sands | 0.0001 | 0.0202 | 20100% | 202 | 0.0201
| Teesside_Hydrogen_PG | 0.0001 | 0.0202 | 20100% | 202 | 0.0201
| Teesside_PG | 0.0001 | 0.0202 | 20100% | 202 | 0.0201
| Terra_Billingham | 0.0001 | 0.0202 | 20100% | 202 | 0.0201
| Zeneca | 0.0001 | 0.0202 | 20100% | 202 | 0.0201
| NT3 | 0.0151 | 0.0004 | -97.35% | 0.02649 | -0.0147
| NT2 | 0.0136 | 0.0003 | -97.79% | 0.022059 | -0.0133
| SO1 | 0.0146 | 0.0017 | -88.36% | 0.11644 | -0.0129
| SO2 | 0.0199 | 0.007 | -64.82% | 0.35176 | -0.0129
| WS | 0.0187 | 0.0061 | -67.38% | 0.3262 | -0.0126
| SW3 | 0.0308 | 0.0189 | -38.64% | 0.61364 | -0.0119
| EA4 | 0.0111 | 0.0003 | -97.3% | 0.027027 | -0.0108
| EA2 | 0.0103 | 0.0003 | -97.09% | 0.029126 | -0.01
| SW2 | 0.0156 | 0.0063 | -59.62% | 0.40385 | -0.0093
| NT1 | 0.021 | 0.0124 | -40.95% | 0.59048 | -0.0086
| SE2 | 0.021 | 0.0124 | -40.95% | 0.59048 | -0.0086
| SE1 | 0.0111 | 0.0046 | -58.56% | 0.41441 | -0.0065
| EM4 | 0.0064 | 0.0009 | -85.94% | 0.14062 | -0.0055
| EA3 | 0.0037 | 0.0003 | -91.89% | 0.081081 | -0.0034
| EM3 | 0.0079 | 0.0048 | -39.24% | 0.60759 | -0.0031
| EM1 | 0.003 | 0.0003 | -90% | 0.1 | -0.0027
| EA1 | 0.0028 | 0.0003 | -89.29% | 0.10714 | -0.0025
| WM2 | 0.0072 | 0.005 | -30.56% | 0.69444 | -0.0022
| SW1 | 0.0082 | 0.0061 | -25.61% | 0.7439 | -0.0021
| NE2 | 0.0021 | 0.0003 | -85.71% | 0.14286 | -0.0018
| WM3 | 0.0079 | 0.0061 | -22.78% | 0.77215 | -0.0018
| NE3 | 0.0009 | 0.0003 | -66.67% | 0.33333 | -0.0006
| EM2 | 0.0007 | 0.0003 | -57.14% | 0.42857 | -0.0004
| WM1 | 0.0066 | 0.0106 | 60.61% | 1.6061 | 0.004
| NW2 | 0.0075 | 0.0166 | 121.3% | 2.2133 | 0.0091
| SC1 | 0.0001 | 0.0126 | 12500% | 126 | 0.0125
| NE1 | 0.0001 | 0.0126 | 12500% | 126 | 0.0125
| SC4 | 0.0001 | 0.0127 | 12600% | 127 | 0.0126
| NO2 | 0.0008 | 0.0136 | 1600% | 17 | 0.0128
| WN | 0.0109 | 0.0247 | 126.6% | 2.2661 | 0.0138
| NW1 | 0.0085 | 0.0266 | 212.9% | 3.1294 | 0.0181
| NO1 | 0.0001 | 0.0202 | 20100% | 202 | 0.0201
| SC2 | 0.001 | 0.0232 | 2220% | 23.2 | 0.0222

## B cf Prevailing Prices
Impact of Rebalancing with Prevailing Methodology (Transcost)
|  | Prevailing Price | New Price | Change (%) | Change (Multiple) | Change
| Baglan_Bay_PG | 0.0212 | 0.0077 | -63.68% | 0.36321 | -0.0135
| Didcot_PG | 0.0157 | 0.0067 | -57.32% | 0.42675 | -0.009
| Brimsdown_PG | 0.0123 | 0.0038 | -69.11% | 0.30894 | -0.0085
| Rye_House_PG | 0.0123 | 0.0038 | -69.11% | 0.30894 | -0.0085
| Terra_Severnside | 0.0149 | 0.0077 | -48.32% | 0.51678 | -0.0072
| Seabank_Abson | 0.0145 | 0.0077 | -46.9% | 0.53103 | -0.0068
| Barking_PG | 0.0114 | 0.0051 | -55.26% | 0.44737 | -0.0063
| Coryton_PG | 0.0086 | 0.0051 | -40.7% | 0.59302 | -0.0035
| Damhead_Creek | 0.009 | 0.0056 | -37.78% | 0.62222 | -0.0034
| Medway_PG | 0.009 | 0.0056 | -37.78% | 0.62222 | -0.0034
| Little_Barford_PG | 0.0057 | 0.0038 | -33.33% | 0.66667 | -0.0019
| Corby_PG | 0.0046 | 0.0052 | 13.04% | 1.1304 | 0.0006
| Bacton_I/C | 0.0028 | 0.0038 | 35.71% | 1.3571 | 0.001
| Great_Yarmouth_PG | 0.0028 | 0.0038 | 35.71% | 1.3571 | 0.001
| Kings_Lynn_PG | 0.0027 | 0.0038 | 40.74% | 1.4074 | 0.0011
| Peterborough_PG | 0.0027 | 0.0038 | 40.74% | 1.4074 | 0.0011
| Staythorpe_PG | 0.0027 | 0.0039 | 44.44% | 1.4444 | 0.0012
| Spalding_PG | 0.002 | 0.0038 | 90% | 1.9 | 0.0018
| Sutton_Bridge_PG | 0.002 | 0.0038 | 90% | 1.9 | 0.0018
| BP_Saltend_HP | 0.0009 | 0.0039 | 333.3% | 4.3333 | 0.003
| Saltend_PG | 0.0009 | 0.0039 | 333.3% | 4.3333 | 0.003
| Stallingborough_PG | 0.0009 | 0.004 | 344.4% | 4.4444 | 0.0031
| Immingham_PG | 0.0005 | 0.0039 | 680% | 7.8 | 0.0034
| Brigg_PG | 0.0005 | 0.0039 | 680% | 7.8 | 0.0034
| Cottam_PG | 0.0005 | 0.0039 | 680% | 7.8 | 0.0034
| Thornton_Curtis_PG | 0.0005 | 0.004 | 700% | 8 | 0.0035
| Keadby_PG | 0.0001 | 0.0039 | 3800% | 39 | 0.0038
| Goole_Glass | 0.0001 | 0.0039 | 3800% | 39 | 0.0038
| KemiraInce_CHP | 0.0102 | 0.0163 | 59.8% | 1.598 | 0.0061
| Rocksavage_PG | 0.0102 | 0.0163 | 59.8% | 1.598 | 0.0061
| ICI_Runcorn | 0.0102 | 0.0163 | 59.8% | 1.598 | 0.0061
| Connah's_Quay_PG | 0.01 | 0.0163 | 63% | 1.63 | 0.0063
| Deeside_PG | 0.01 | 0.0163 | 63% | 1.63 | 0.0063
| Shotton_Paper | 0.01 | 0.0163 | 63% | 1.63 | 0.0063
| Bridgewater_Paper | 0.01 | 0.0163 | 63% | 1.63 | 0.0063
| SappiPaperMillCHP | 0.0085 | 0.0156 | 83.53% | 1.8353 | 0.0071
| AM_Paper | 0.0035 | 0.0106 | 202.9% | 3.0286 | 0.0071
| Brunner_Mond | 0.0035 | 0.0117 | 234.3% | 3.3429 | 0.0082
| Roosecote_PG | 0.0023 | 0.0106 | 360.9% | 4.6087 | 0.0083
| Sellafield_PG | 0.0023 | 0.0106 | 360.9% | 4.6087 | 0.0083
| Hays_Chemicals | 0.0035 | 0.0123 | 251.4% | 3.5143 | 0.0088
| BP_Grangemouth | 0.0001 | 0.0103 | 10200% | 103 | 0.0102
| Longannet_PG | 0.0001 | 0.0103 | 10200% | 103 | 0.0102
| Peterhead_PG | 0.0001 | 0.0103 | 10200% | 103 | 0.0102
| Moffat_I/C | 0.0001 | 0.0105 | 10400% | 105 | 0.0104
| BASF | 0.0001 | 0.0132 | 13100% | 132 | 0.0131
| Phillips_Seal_Sands | 0.0001 | 0.0132 | 13100% | 132 | 0.0131
| Teesside_Hydrogen_PG | 0.0001 | 0.0132 | 13100% | 132 | 0.0131
| Teesside_PG | 0.0001 | 0.0132 | 13100% | 132 | 0.0131
| Terra_Billingham | 0.0001 | 0.0132 | 13100% | 132 | 0.0131
| Zeneca | 0.0001 | 0.0132 | 13100% | 132 | 0.0131
| NT3 | 0.0151 | 0.0004 | -97.35% | 0.02649 | -0.0147
| NT2 | 0.0136 | 0.0003 | -97.79% | 0.022059 | -0.0133
| SO1 | 0.0146 | 0.0017 | -88.36% | 0.11644 | -0.0129
| SO2 | 0.0199 | 0.007 | -64.82% | 0.35176 | -0.0129
| SW3 | 0.0308 | 0.0189 | -38.64% | 0.61364 | -0.0119
| WS | 0.0187 | 0.0077 | -58.82% | 0.41176 | -0.011
| EA4 | 0.0111 | 0.0003 | -97.3% | 0.027027 | -0.0108
| EA2 | 0.0103 | 0.0003 | -97.09% | 0.029126 | -0.01
| SW2 | 0.0156 | 0.0063 | -59.62% | 0.40385 | -0.0093
| NT1 | 0.021 | 0.0124 | -40.95% | 0.59048 | -0.0086
| SE2 | 0.021 | 0.0124 | -40.95% | 0.59048 | -0.0086
| SE1 | 0.0111 | 0.0046 | -58.56% | 0.41441 | -0.0065
| EM4 | 0.0064 | 0.0009 | -85.94% | 0.14062 | -0.0055
| EA3 | 0.0037 | 0.0003 | -91.89% | 0.081081 | -0.0034
| EM3 | 0.0079 | 0.0048 | -39.24% | 0.60759 | -0.0031
| EM1 | 0.003 | 0.0003 | -90% | 0.1 | -0.0027
| EA1 | 0.0028 | 0.0003 | -89.29% | 0.10714 | -0.0025
| WM2 | 0.0072 | 0.005 | -30.56% | 0.69444 | -0.0022
| SW1 | 0.0082 | 0.0061 | -25.61% | 0.7439 | -0.0021
| NE2 | 0.0021 | 0.0003 | -85.71% | 0.14286 | -0.0018
| WM3 | 0.0079 | 0.0061 | -22.78% | 0.77215 | -0.0018
| NE3 | 0.0009 | 0.0003 | -66.67% | 0.33333 | -0.0006
| EM2 | 0.0007 | 0.0003 | -57.14% | 0.42857 | -0.0004
| WM1 | 0.0066 | 0.0106 | 60.61% | 1.6061 | 0.004
| NW2 | 0.0075 | 0.0166 | 121.3% | 2.2133 | 0.0091
| SC1 | 0.0001 | 0.0126 | 12500% | 126 | 0.0125
| NE1 | 0.0001 | 0.0126 | 12500% | 126 | 0.0125
| SC4 | 0.0001 | 0.0127 | 12600% | 127 | 0.0126
| NO2 | 0.0008 | 0.0136 | 1600% | 17 | 0.0128
| WN | 0.0109 | 0.0247 | 126.6% | 2.2661 | 0.0138
| NW1 | 0.0085 | 0.0266 | 212.9% | 3.1294 | 0.0181
| NO1 | 0.0001 | 0.0202 | 20100% | 202 | 0.0201
| SC2 | 0.001 | 0.0232 | 2220% | 23.2 | 0.0222

## C cf Prevailing Prices
Impact of Rebalancing with Prevailing Methodology (Transcost)
|  | Prevailing Price | New Price | Change (%) | Change (Multiple) | Change
| Baglan_Bay_PG | 0.0212 | 0.0099 | -53.3% | 0.46698 | -0.0113
| Brimsdown_PG | 0.0123 | 0.0034 | -72.36% | 0.27642 | -0.0089
| Rye_House_PG | 0.0123 | 0.0034 | -72.36% | 0.27642 | -0.0089
| Barking_PG | 0.0114 | 0.0048 | -57.89% | 0.42105 | -0.0066
| Didcot_PG | 0.0157 | 0.0091 | -42.04% | 0.57962 | -0.0066
| Terra_Severnside | 0.0149 | 0.0099 | -33.56% | 0.66443 | -0.005
| Seabank_Abson | 0.0145 | 0.0099 | -31.72% | 0.68276 | -0.0046
| Coryton_PG | 0.0086 | 0.0048 | -44.19% | 0.55814 | -0.0038
| Damhead_Creek | 0.009 | 0.0053 | -41.11% | 0.58889 | -0.0037
| Medway_PG | 0.009 | 0.0053 | -41.11% | 0.58889 | -0.0037
| Little_Barford_PG | 0.0057 | 0.0034 | -40.35% | 0.59649 | -0.0023
| Bacton_I/C | 0.0028 | 0.0034 | 21.43% | 1.2143 | 0.0006
| Great_Yarmouth_PG | 0.0028 | 0.0034 | 21.43% | 1.2143 | 0.0006
| Kings_Lynn_PG | 0.0027 | 0.0034 | 25.93% | 1.2593 | 0.0007
| Peterborough_PG | 0.0027 | 0.0034 | 25.93% | 1.2593 | 0.0007
| Staythorpe_PG | 0.0027 | 0.0057 | 111.1% | 2.1111 | 0.003
| Corby_PG | 0.0046 | 0.0082 | 78.26% | 1.7826 | 0.0036
| SappiPaperMillCHP | 0.0085 | 0.0122 | 43.53% | 1.4353 | 0.0037
| AM_Paper | 0.0035 | 0.0072 | 105.7% | 2.0571 | 0.0037
| Spalding_PG | 0.002 | 0.0057 | 185% | 2.85 | 0.0037
| Sutton_Bridge_PG | 0.002 | 0.0057 | 185% | 2.85 | 0.0037
| BP_Saltend_HP | 0.0009 | 0.0052 | 477.8% | 5.7778 | 0.0043
| Saltend_PG | 0.0009 | 0.0052 | 477.8% | 5.7778 | 0.0043
| Roosecote_PG | 0.0023 | 0.0072 | 213% | 3.1304 | 0.0049
| Sellafield_PG | 0.0023 | 0.0072 | 213% | 3.1304 | 0.0049
| Stallingborough_PG | 0.0009 | 0.0059 | 555.6% | 6.5556 | 0.005
| Brunner_Mond | 0.0035 | 0.0086 | 145.7% | 2.4571 | 0.0051
| Brigg_PG | 0.0005 | 0.0057 | 1040% | 11.4 | 0.0052
| Cottam_PG | 0.0005 | 0.0057 | 1040% | 11.4 | 0.0052
| BP_Grangemouth | 0.0001 | 0.0056 | 5500% | 56 | 0.0055
| Longannet_PG | 0.0001 | 0.0056 | 5500% | 56 | 0.0055
| Peterhead_PG | 0.0001 | 0.0056 | 5500% | 56 | 0.0055
| Thornton_Curtis_PG | 0.0005 | 0.0061 | 1120% | 12.2 | 0.0056
| Keadby_PG | 0.0001 | 0.0057 | 5600% | 57 | 0.0056
| Hays_Chemicals | 0.0035 | 0.0093 | 165.7% | 2.6571 | 0.0058
| KemiraInce_CHP | 0.0102 | 0.0164 | 60.78% | 1.6078 | 0.0062
| Rocksavage_PG | 0.0102 | 0.0164 | 60.78% | 1.6078 | 0.0062
| ICI_Runcorn | 0.0102 | 0.0164 | 60.78% | 1.6078 | 0.0062
| Connah's_Quay_PG | 0.01 | 0.0164 | 64% | 1.64 | 0.0064
| Shotton_Paper | 0.01 | 0.0164 | 64% | 1.64 | 0.0064
| Bridgewater_Paper | 0.01 | 0.0164 | 64% | 1.64 | 0.0064
| Moffat_I/C | 0.0001 | 0.0084 | 8300% | 84 | 0.0083
| BASF | 0.0001 | 0.0089 | 8800% | 89 | 0.0088
| Phillips_Seal_Sands | 0.0001 | 0.0089 | 8800% | 89 | 0.0088
| Teesside_Hydrogen_PG | 0.0001 | 0.0089 | 8800% | 89 | 0.0088
| Teesside_PG | 0.0001 | 0.0089 | 8800% | 89 | 0.0088
| Terra_Billingham | 0.0001 | 0.0089 | 8800% | 89 | 0.0088
| Deeside_PG | 0.01 | 0.0193 | 93% | 1.93 | 0.0093
| Immingham_PG | 0.0005 | 0.0107 | 2040% | 21.4 | 0.0102
| Goole_Glass | 0.0001 | 0.0107 | 10600% | 107 | 0.0106
| Zeneca | 0.0001 | 0.0173 | 17200% | 173 | 0.0172
| SW3 | 0.0308 | 0.015 | -51.3% | 0.48701 | -0.0158
| NT3 | 0.0151 | 0.005 | -66.89% | 0.33113 | -0.0101
| SO2 | 0.0199 | 0.0106 | -46.73% | 0.53266 | -0.0093
| NT2 | 0.0136 | 0.0046 | -66.18% | 0.33824 | -0.009
| WS | 0.0187 | 0.0099 | -47.06% | 0.52941 | -0.0088
| NT1 | 0.021 | 0.0128 | -39.05% | 0.60952 | -0.0082
| SE2 | 0.021 | 0.0128 | -39.05% | 0.60952 | -0.0082
| EA4 | 0.0111 | 0.0036 | -67.57% | 0.32432 | -0.0075
| SO1 | 0.0146 | 0.0073 | -50% | 0.5 | -0.0073
| EA2 | 0.0103 | 0.0034 | -66.99% | 0.3301 | -0.0069
| SW2 | 0.0156 | 0.0099 | -36.54% | 0.63462 | -0.0057
| SE1 | 0.0111 | 0.0068 | -38.74% | 0.61261 | -0.0043
| EA3 | 0.0037 | 0.0034 | -8.108% | 0.91892 | -0.0003
| WM2 | 0.0072 | 0.0076 | 5.556% | 1.0556 | 0.0004
| WM3 | 0.0079 | 0.0083 | 5.063% | 1.0506 | 0.0004
| EA1 | 0.0028 | 0.0034 | 21.43% | 1.2143 | 0.0006
| WM1 | 0.0066 | 0.0072 | 9.091% | 1.0909 | 0.0006
| NW2 | 0.0075 | 0.0091 | 21.33% | 1.2133 | 0.0016
| WN | 0.0109 | 0.0125 | 14.68% | 1.1468 | 0.0016
| SW1 | 0.0082 | 0.0099 | 20.73% | 1.2073 | 0.0017
| EM1 | 0.003 | 0.0051 | 70% | 1.7 | 0.0021
| EM4 | 0.0064 | 0.0088 | 37.5% | 1.375 | 0.0024
| NE2 | 0.0021 | 0.005 | 138.1% | 2.381 | 0.0029
| EM3 | 0.0079 | 0.0117 | 48.1% | 1.481 | 0.0038
| NW1 | 0.0085 | 0.0123 | 44.71% | 1.4471 | 0.0038
| NE3 | 0.0009 | 0.0052 | 477.8% | 5.7778 | 0.0043
| EM2 | 0.0007 | 0.0058 | 728.6% | 8.2857 | 0.0051
| SC1 | 0.0001 | 0.0056 | 5500% | 56 | 0.0055
| SC4 | 0.0001 | 0.0058 | 5700% | 58 | 0.0057
| NE1 | 0.0001 | 0.0089 | 8800% | 89 | 0.0088
| NO2 | 0.0008 | 0.0107 | 1238% | 13.375 | 0.0099
| SC2 | 0.001 | 0.0153 | 1430% | 15.3 | 0.0143
| NO1 | 0.0001 | 0.0157 | 15600% | 157 | 0.0156

## D cf Prevailing Prices
Impact of Rebalancing with Prevailing Methodology (Transcost)
|  | Prevailing Price | New Price | Change (%) | Change (Multiple) | Change
| Brimsdown_PG | 0.0123 | 0.0044 | -64.23% | 0.35772 | -0.0079
| Rye_House_PG | 0.0123 | 0.0044 | -64.23% | 0.35772 | -0.0079
| SappiPaperMillCHP | 0.0085 | 0.0022 | -74.12% | 0.25882 | -0.0063
| Barking_PG | 0.0114 | 0.0058 | -49.12% | 0.50877 | -0.0056
| Didcot_PG | 0.0157 | 0.0101 | -35.67% | 0.64331 | -0.0056
| Baglan_Bay_PG | 0.0212 | 0.0159 | -25% | 0.75 | -0.0053
| Terra_Severnside | 0.0149 | 0.012 | -19.46% | 0.80537 | -0.0029
| Coryton_PG | 0.0086 | 0.0058 | -32.56% | 0.67442 | -0.0028
| Bacton_I/C | 0.0028 | 0.0001 | -96.43% | 0.035714 | -0.0027
| Great_Yarmouth_PG | 0.0028 | 0.0001 | -96.43% | 0.035714 | -0.0027
| Damhead_Creek | 0.009 | 0.0064 | -28.89% | 0.71111 | -0.0026
| Medway_PG | 0.009 | 0.0064 | -28.89% | 0.71111 | -0.0026
| Seabank_Abson | 0.0145 | 0.012 | -17.24% | 0.82759 | -0.0025
| Roosecote_PG | 0.0023 | 0.0001 | -95.65% | 0.043478 | -0.0022
| Sellafield_PG | 0.0023 | 0.0001 | -95.65% | 0.043478 | -0.0022
| Little_Barford_PG | 0.0057 | 0.0044 | -22.81% | 0.77193 | -0.0013
| Peterhead_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Kings_Lynn_PG | 0.0027 | 0.0039 | 44.44% | 1.4444 | 0.0012
| Peterborough_PG | 0.0027 | 0.0044 | 62.96% | 1.6296 | 0.0017
| AM_Paper | 0.0035 | 0.0067 | 91.43% | 1.9143 | 0.0032
| Staythorpe_PG | 0.0027 | 0.0067 | 148.1% | 2.4815 | 0.004
| BP_Saltend_HP | 0.0009 | 0.0052 | 477.8% | 5.7778 | 0.0043
| Saltend_PG | 0.0009 | 0.0052 | 477.8% | 5.7778 | 0.0043
| Corby_PG | 0.0046 | 0.0091 | 97.83% | 1.9783 | 0.0045
| Brunner_Mond | 0.0035 | 0.0081 | 131.4% | 2.3143 | 0.0046
| Spalding_PG | 0.002 | 0.0067 | 235% | 3.35 | 0.0047
| Sutton_Bridge_PG | 0.002 | 0.0067 | 235% | 3.35 | 0.0047
| Stallingborough_PG | 0.0009 | 0.0058 | 544.4% | 6.4444 | 0.0049
| Hays_Chemicals | 0.0035 | 0.0088 | 151.4% | 2.5143 | 0.0053
| Thornton_Curtis_PG | 0.0005 | 0.006 | 1100% | 12 | 0.0055
| BP_Grangemouth | 0.0001 | 0.0057 | 5600% | 57 | 0.0056
| Longannet_PG | 0.0001 | 0.0057 | 5600% | 57 | 0.0056
| KemiraInce_CHP | 0.0102 | 0.0158 | 54.9% | 1.549 | 0.0056
| Rocksavage_PG | 0.0102 | 0.0158 | 54.9% | 1.549 | 0.0056
| ICI_Runcorn | 0.0102 | 0.0158 | 54.9% | 1.549 | 0.0056
| Connah's_Quay_PG | 0.01 | 0.0158 | 58% | 1.58 | 0.0058
| Shotton_Paper | 0.01 | 0.0158 | 58% | 1.58 | 0.0058
| Bridgewater_Paper | 0.01 | 0.0158 | 58% | 1.58 | 0.0058
| Brigg_PG | 0.0005 | 0.0067 | 1240% | 13.4 | 0.0062
| Cottam_PG | 0.0005 | 0.0067 | 1240% | 13.4 | 0.0062
| Keadby_PG | 0.0001 | 0.0067 | 6600% | 67 | 0.0066
| BASF | 0.0001 | 0.0073 | 7200% | 73 | 0.0072
| Phillips_Seal_Sands | 0.0001 | 0.0073 | 7200% | 73 | 0.0072
| Teesside_Hydrogen_PG | 0.0001 | 0.0073 | 7200% | 73 | 0.0072
| Teesside_PG | 0.0001 | 0.0073 | 7200% | 73 | 0.0072
| Terra_Billingham | 0.0001 | 0.0073 | 7200% | 73 | 0.0072
| Zeneca | 0.0001 | 0.0073 | 7200% | 73 | 0.0072
| Immingham_PG | 0.0005 | 0.0101 | 1920% | 20.2 | 0.0096
| Moffat_I/C | 0.0001 | 0.0101 | 10000% | 101 | 0.01
| Goole_Glass | 0.0001 | 0.0101 | 10000% | 101 | 0.01
| Deeside_PG | 0.01 | 0.0203 | 103% | 2.03 | 0.0103
| SW3 | 0.0308 | 0.0171 | -44.48% | 0.55519 | -0.0137
| NT3 | 0.0151 | 0.006 | -60.26% | 0.39735 | -0.0091
| NT2 | 0.0136 | 0.0056 | -58.82% | 0.41176 | -0.008
| SO2 | 0.0199 | 0.0124 | -37.69% | 0.62312 | -0.0075
| NT1 | 0.021 | 0.0138 | -34.29% | 0.65714 | -0.0072
| SE2 | 0.021 | 0.0138 | -34.29% | 0.65714 | -0.0072
| EA4 | 0.0111 | 0.0046 | -58.56% | 0.41441 | -0.0065
| EA2 | 0.0103 | 0.0041 | -60.19% | 0.39806 | -0.0062
| SO1 | 0.0146 | 0.0084 | -42.47% | 0.57534 | -0.0062
| NW1 | 0.0085 | 0.0026 | -69.41% | 0.30588 | -0.0059
| EA3 | 0.0037 | 0.0001 | -97.3% | 0.027027 | -0.0036
| SW2 | 0.0156 | 0.012 | -23.08% | 0.76923 | -0.0036
| WS | 0.0187 | 0.0159 | -14.97% | 0.85027 | -0.0028
| SE1 | 0.0111 | 0.0094 | -15.32% | 0.84685 | -0.0017
| WM2 | 0.0072 | 0.007 | -2.778% | 0.97222 | -0.0002
| WM1 | 0.0066 | 0.0067 | 1.515% | 1.0152 | 0.0001
| WM3 | 0.0079 | 0.0085 | 7.595% | 1.0759 | 0.0006
| NW2 | 0.0075 | 0.0085 | 13.33% | 1.1333 | 0.001
| EA1 | 0.0028 | 0.0039 | 39.29% | 1.3929 | 0.0011
| WN | 0.0109 | 0.012 | 10.09% | 1.1009 | 0.0011
| SC1 | 0.0001 | 0.0017 | 1600% | 17 | 0.0016
| NE2 | 0.0021 | 0.0049 | 133.3% | 2.3333 | 0.0028
| EM4 | 0.0064 | 0.0097 | 51.56% | 1.5156 | 0.0033
| EM1 | 0.003 | 0.0066 | 120% | 2.2 | 0.0036
| SW1 | 0.0082 | 0.0124 | 51.22% | 1.5122 | 0.0042
| NE3 | 0.0009 | 0.0052 | 477.8% | 5.7778 | 0.0043
| EM3 | 0.0079 | 0.0127 | 60.76% | 1.6076 | 0.0048
| SC4 | 0.0001 | 0.0058 | 5700% | 58 | 0.0057
| EM2 | 0.0007 | 0.0065 | 828.6% | 9.2857 | 0.0058
| NE1 | 0.0001 | 0.009 | 8900% | 90 | 0.0089
| SC2 | 0.001 | 0.01 | 900% | 10 | 0.009
| NO1 | 0.0001 | 0.0101 | 10000% | 101 | 0.01
| NO2 | 0.0008 | 0.012 | 1400% | 15 | 0.0112

## F1 cf Prevailing Prices
Impact of Rebalancing with Model F1
|  | Prevailing Price | New Price | Change (%) | Change (Multiple) | Change
| SappiPaperMillCHP | 0.0085 | 0.0032 | -62.35% | 0.37647 | -0.0053
| Roosecote_PG | 0.0023 | 0.0001 | -95.65% | 0.043478 | -0.0022
| Sellafield_PG | 0.0023 | 0.0001 | -95.65% | 0.043478 | -0.0022
| Bacton_I/C | 0.0028 | 0.0008 | -71.43% | 0.28571 | -0.002
| Great_Yarmouth_PG | 0.0028 | 0.0008 | -71.43% | 0.28571 | -0.002
| Brimsdown_PG | 0.0123 | 0.0104 | -15.45% | 0.84553 | -0.0019
| Rye_House_PG | 0.0123 | 0.0106 | -13.82% | 0.86179 | -0.0017
| Didcot_PG | 0.0157 | 0.0143 | -8.917% | 0.91083 | -0.0014
| Barking_PG | 0.0114 | 0.0103 | -9.649% | 0.90351 | -0.0011
| BP_Saltend_HP | 0.0009 | 0.0001 | -88.89% | 0.11111 | -0.0008
| Saltend_PG | 0.0009 | 0.0001 | -88.89% | 0.11111 | -0.0008
| Stallingborough_PG | 0.0009 | 0.0009 | 0% | 1 | 0
| BP_Grangemouth | 0.0001 | 0.0001 | 0% | 1 | 0
| Longannet_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Peterhead_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Moffat_I/C | 0.0001 | 0.0001 | 0% | 1 | 0
| BASF | 0.0001 | 0.0001 | 0% | 1 | 0
| Phillips_Seal_Sands | 0.0001 | 0.0001 | 0% | 1 | 0
| Teesside_Hydrogen_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Teesside_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Terra_Billingham | 0.0001 | 0.0001 | 0% | 1 | 0
| Zeneca | 0.0001 | 0.0001 | 0% | 1 | 0
| Immingham_PG | 0.0005 | 0.0008 | 60% | 1.6 | 0.0003
| Thornton_Curtis_PG | 0.0005 | 0.0008 | 60% | 1.6 | 0.0003
| Connah's_Quay_PG | 0.01 | 0.0107 | 7% | 1.07 | 0.0007
| Deeside_PG | 0.01 | 0.0107 | 7% | 1.07 | 0.0007
| Shotton_Paper | 0.01 | 0.0107 | 7% | 1.07 | 0.0007
| Bridgewater_Paper | 0.01 | 0.0107 | 7% | 1.07 | 0.0007
| Baglan_Bay_PG | 0.0212 | 0.022 | 3.774% | 1.0377 | 0.0008
| KemiraInce_CHP | 0.0102 | 0.0111 | 8.824% | 1.0882 | 0.0009
| Damhead_Creek | 0.009 | 0.01 | 11.11% | 1.1111 | 0.001
| Medway_PG | 0.009 | 0.01 | 11.11% | 1.1111 | 0.001
| Rocksavage_PG | 0.0102 | 0.0114 | 11.76% | 1.1176 | 0.0012
| ICI_Runcorn | 0.0102 | 0.0114 | 11.76% | 1.1176 | 0.0012
| Terra_Severnside | 0.0149 | 0.0165 | 10.74% | 1.1074 | 0.0016
| Coryton_PG | 0.0086 | 0.0103 | 19.77% | 1.1977 | 0.0017
| Staythorpe_PG | 0.0027 | 0.0045 | 66.67% | 1.6667 | 0.0018
| Kings_Lynn_PG | 0.0027 | 0.0049 | 81.48% | 1.8148 | 0.0022
| Spalding_PG | 0.002 | 0.0051 | 155% | 2.55 | 0.0031
| Sutton_Bridge_PG | 0.002 | 0.0051 | 155% | 2.55 | 0.0031
| Goole_Glass | 0.0001 | 0.0033 | 3200% | 33 | 0.0032
| Seabank_Abson | 0.0145 | 0.0178 | 22.76% | 1.2276 | 0.0033
| Little_Barford_PG | 0.0057 | 0.0095 | 66.67% | 1.6667 | 0.0038
| Corby_PG | 0.0046 | 0.0085 | 84.78% | 1.8478 | 0.0039
| Brigg_PG | 0.0005 | 0.0044 | 780% | 8.8 | 0.0039
| Cottam_PG | 0.0005 | 0.0044 | 780% | 8.8 | 0.0039
| AM_Paper | 0.0035 | 0.0074 | 111.4% | 2.1143 | 0.0039
| Peterborough_PG | 0.0027 | 0.0067 | 148.1% | 2.4815 | 0.004
| Keadby_PG | 0.0001 | 0.0042 | 4100% | 42 | 0.0041
| Brunner_Mond | 0.0035 | 0.0081 | 131.4% | 2.3143 | 0.0046
| Hays_Chemicals | 0.0035 | 0.0085 | 142.9% | 2.4286 | 0.005
| SW3 | 0.0308 | 0.0244 | -20.78% | 0.79221 | -0.0064
| NT3 | 0.0151 | 0.01 | -33.77% | 0.66225 | -0.0051
| NW1 | 0.0085 | 0.0035 | -58.82% | 0.41176 | -0.005
| NT1 | 0.021 | 0.0164 | -21.9% | 0.78095 | -0.0046
| SE2 | 0.021 | 0.0164 | -21.9% | 0.78095 | -0.0046
| EA2 | 0.0103 | 0.0061 | -40.78% | 0.59223 | -0.0042
| NT2 | 0.0136 | 0.0107 | -21.32% | 0.78676 | -0.0029
| EM1 | 0.003 | 0.0008 | -73.33% | 0.26667 | -0.0022
| SO1 | 0.0146 | 0.0125 | -14.38% | 0.85616 | -0.0021
| NE2 | 0.0021 | 0.0001 | -95.24% | 0.047619 | -0.002
| SO2 | 0.0199 | 0.0185 | -7.035% | 0.92965 | -0.0014
| EA4 | 0.0111 | 0.0098 | -11.71% | 0.88288 | -0.0013
| EA3 | 0.0037 | 0.0025 | -32.43% | 0.67568 | -0.0012
| SC2 | 0.001 | 0.0001 | -90% | 0.1 | -0.0009
| NE3 | 0.0009 | 0.0001 | -88.89% | 0.11111 | -0.0008
| NO2 | 0.0008 | 0.0001 | -87.5% | 0.125 | -0.0007
| SC1 | 0.0001 | 0.0001 | 0% | 1 | 0
| SC4 | 0.0001 | 0.0001 | 0% | 1 | 0
| NO1 | 0.0001 | 0.0001 | 0% | 1 | 0
| WN | 0.0109 | 0.0114 | 4.587% | 1.0459 | 0.0005
| NW2 | 0.0075 | 0.0084 | 12% | 1.12 | 0.0009
| SE1 | 0.0111 | 0.0124 | 11.71% | 1.1171 | 0.0013
| NE1 | 0.0001 | 0.0018 | 1700% | 18 | 0.0017
| WS | 0.0187 | 0.0205 | 9.626% | 1.0963 | 0.0018
| EA1 | 0.0028 | 0.0048 | 71.43% | 1.7143 | 0.002
| SW2 | 0.0156 | 0.0176 | 12.82% | 1.1282 | 0.002
| EM4 | 0.0064 | 0.0089 | 39.06% | 1.3906 | 0.0025
| EM2 | 0.0007 | 0.0045 | 542.9% | 6.4286 | 0.0038
| EM3 | 0.0079 | 0.0117 | 48.1% | 1.481 | 0.0038
| WM1 | 0.0066 | 0.0106 | 60.61% | 1.6061 | 0.004
| WM3 | 0.0079 | 0.0122 | 54.43% | 1.5443 | 0.0043
| WM2 | 0.0072 | 0.0127 | 76.39% | 1.7639 | 0.0055
| SW1 | 0.0082 | 0.0147 | 79.27% | 1.7927 | 0.0065

## F2 cf Prevailing Prices
Impact of Rebalancing with Model F2
|  | Prevailing Price | New Price | Change (%) | Change (Multiple) | Change
| SappiPaperMillCHP | 0.0085 | 0.0032 | -62.35% | 0.37647 | -0.0053
| Brimsdown_PG | 0.0123 | 0.0092 | -25.2% | 0.74797 | -0.0031
| Rye_House_PG | 0.0123 | 0.0095 | -22.76% | 0.77236 | -0.0028
| Bacton_I/C | 0.0028 | 0.0001 | -96.43% | 0.035714 | -0.0027
| Great_Yarmouth_PG | 0.0028 | 0.0001 | -96.43% | 0.035714 | -0.0027
| Didcot_PG | 0.0157 | 0.0132 | -15.92% | 0.84076 | -0.0025
| Roosecote_PG | 0.0023 | 0.0001 | -95.65% | 0.043478 | -0.0022
| Sellafield_PG | 0.0023 | 0.0001 | -95.65% | 0.043478 | -0.0022
| Barking_PG | 0.0114 | 0.0095 | -16.67% | 0.83333 | -0.0019
| Kings_Lynn_PG | 0.0027 | 0.0019 | -29.63% | 0.7037 | -0.0008
| BP_Saltend_HP | 0.0009 | 0.0001 | -88.89% | 0.11111 | -0.0008
| Saltend_PG | 0.0009 | 0.0001 | -88.89% | 0.11111 | -0.0008
| Stallingborough_PG | 0.0009 | 0.0001 | -88.89% | 0.11111 | -0.0008
| Staythorpe_PG | 0.0027 | 0.002 | -25.93% | 0.74074 | -0.0007
| Damhead_Creek | 0.009 | 0.0084 | -6.667% | 0.93333 | -0.0006
| Medway_PG | 0.009 | 0.0084 | -6.667% | 0.93333 | -0.0006
| Thornton_Curtis_PG | 0.0005 | 0.0001 | -80% | 0.2 | -0.0004
| Immingham_PG | 0.0005 | 0.0002 | -60% | 0.4 | -0.0003
| BP_Grangemouth | 0.0001 | 0.0001 | 0% | 1 | 0
| Longannet_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Peterhead_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Moffat_I/C | 0.0001 | 0.0001 | 0% | 1 | 0
| BASF | 0.0001 | 0.0001 | 0% | 1 | 0
| Phillips_Seal_Sands | 0.0001 | 0.0001 | 0% | 1 | 0
| Teesside_Hydrogen_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Teesside_PG | 0.0001 | 0.0001 | 0% | 1 | 0
| Terra_Billingham | 0.0001 | 0.0001 | 0% | 1 | 0
| Zeneca | 0.0001 | 0.0001 | 0% | 1 | 0
| Goole_Glass | 0.0001 | 0.0001 | 0% | 1 | 0
| Keadby_PG | 0.0001 | 0.0008 | 700% | 8 | 0.0007
| Coryton_PG | 0.0086 | 0.0095 | 10.47% | 1.1047 | 0.0009
| Bridgewater_Paper | 0.01 | 0.011 | 10% | 1.1 | 0.001
| Connah's_Quay_PG | 0.01 | 0.011 | 10% | 1.1 | 0.001
| Deeside_PG | 0.01 | 0.011 | 10% | 1.1 | 0.001
| Shotton_Paper | 0.01 | 0.011 | 10% | 1.1 | 0.001
| Spalding_PG | 0.002 | 0.0031 | 55% | 1.55 | 0.0011
| Sutton_Bridge_PG | 0.002 | 0.0031 | 55% | 1.55 | 0.0011
| Peterborough_PG | 0.0027 | 0.004 | 48.15% | 1.4815 | 0.0013
| Corby_PG | 0.0046 | 0.0062 | 34.78% | 1.3478 | 0.0016
| Brigg_PG | 0.0005 | 0.0021 | 320% | 4.2 | 0.0016
| Cottam_PG | 0.0005 | 0.0021 | 320% | 4.2 | 0.0016
| KemiraInce_CHP | 0.0102 | 0.0121 | 18.63% | 1.1863 | 0.0019
| Little_Barford_PG | 0.0057 | 0.0077 | 35.09% | 1.3509 | 0.002
| Terra_Severnside | 0.0149 | 0.0176 | 18.12% | 1.1812 | 0.0027
| ICI_Runcorn | 0.0102 | 0.0132 | 29.41% | 1.2941 | 0.003
| Rocksavage_PG | 0.0102 | 0.0132 | 29.41% | 1.2941 | 0.003
| AM_Paper | 0.0035 | 0.0069 | 97.14% | 1.9714 | 0.0034
| Brunner_Mond | 0.0035 | 0.0078 | 122.9% | 2.2286 | 0.0043
| Hays_Chemicals | 0.0035 | 0.0082 | 134.3% | 2.3429 | 0.0047
| Seabank_Abson | 0.0145 | 0.0216 | 48.97% | 1.4897 | 0.0071
| Baglan_Bay_PG | 0.0212 | 0.0293 | 38.21% | 1.3821 | 0.0081
| NT3 | 0.0151 | 0.0092 | -39.07% | 0.60927 | -0.0059
| EA2 | 0.0103 | 0.0045 | -56.31% | 0.43689 | -0.0058
| NW1 | 0.0085 | 0.0036 | -57.65% | 0.42353 | -0.0049
| NT1 | 0.021 | 0.0164 | -21.9% | 0.78095 | -0.0046
| SE2 | 0.021 | 0.0164 | -21.9% | 0.78095 | -0.0046
| NT2 | 0.0136 | 0.01 | -26.47% | 0.73529 | -0.0036
| EA3 | 0.0037 | 0.0002 | -94.59% | 0.054054 | -0.0035
| SO1 | 0.0146 | 0.0112 | -23.29% | 0.76712 | -0.0034
| EM1 | 0.003 | 0.0001 | -96.67% | 0.033333 | -0.0029
| EA4 | 0.0111 | 0.0082 | -26.13% | 0.73874 | -0.0029
| NE2 | 0.0021 | 0.0001 | -95.24% | 0.047619 | -0.002
| SC2 | 0.001 | 0.0001 | -90% | 0.1 | -0.0009
| EA1 | 0.0028 | 0.0019 | -32.14% | 0.67857 | -0.0009
| NE3 | 0.0009 | 0.0001 | -88.89% | 0.11111 | -0.0008
| SO2 | 0.0199 | 0.0191 | -4.02% | 0.9598 | -0.0008
| NO2 | 0.0008 | 0.0001 | -87.5% | 0.125 | -0.0007
| SC1 | 0.0001 | 0.0001 | 0% | 1 | 0
| SC4 | 0.0001 | 0.0001 | 0% | 1 | 0
| NO1 | 0.0001 | 0.0001 | 0% | 1 | 0
| NE1 | 0.0001 | 0.0001 | 0% | 1 | 0
| EM4 | 0.0064 | 0.0067 | 4.688% | 1.0469 | 0.0003
| NW2 | 0.0075 | 0.0083 | 10.67% | 1.1067 | 0.0008
| SE1 | 0.0111 | 0.0125 | 12.61% | 1.1261 | 0.0014
| EM2 | 0.0007 | 0.0022 | 214.3% | 3.1429 | 0.0015
| WN | 0.0109 | 0.0137 | 25.69% | 1.2569 | 0.0028
| EM3 | 0.0079 | 0.0109 | 37.97% | 1.3797 | 0.003
| WM3 | 0.0079 | 0.0114 | 44.3% | 1.443 | 0.0035
| WM1 | 0.0066 | 0.0107 | 62.12% | 1.6212 | 0.0041
| WM2 | 0.0072 | 0.0118 | 63.89% | 1.6389 | 0.0046
| SW2 | 0.0156 | 0.021 | 34.62% | 1.3462 | 0.0054
| SW3 | 0.0308 | 0.0369 | 19.81% | 1.1981 | 0.0061
| SW1 | 0.0082 | 0.015 | 82.93% | 1.8293 | 0.0068
| WS | 0.0187 | 0.0262 | 40.11% | 1.4011 | 0.0075